[붙임1]

2024년도 기자재공급 유자격자 (수시) 모집품목 (원자력 분야)

공고일 : 2024.7.17

주1) 각 품목별 기술규격 및 사양은 평가 신청시 각 품목별로 시스템상에서 확인하실 수 있습니다.(매뉴얼 참고)

주2) 심사의뢰를 위해서는 붙임3.시스템 매뉴얼에 따라 시스템상 '표준MR No. 또는 SG Code' 입력이 필요합니다.

No.	분야	품질 등급	표준 MR No.	SG Code	품목명	비 고
1	기계	A	UM204A	SG00845	MAIN FEEDWATER PUMPS, START-UP FEEDWATER PUMPS, AND CONDENSATE PUMPS & FEEDWATER BOOSTER PUMPS
2	기계	A	UM212	SG00913	CENTRIFUGAL PUMPS
3	기계	A	UM229A	SG00914	NON-SAFETY-RELATED HEAT EXCHANGERS (PLATE TYPE / SHELL & TUBE TYPE)
4	기계	Q	UM251	SG00916	SAFETY RELATED AIR HANDLING UNITS, CUBICLE COOLERS AND NON-SAFETY RELATED RCFCS
5	기계	Q	UM252	SG00917	SAFETY-RELATED AIR CLEANING UNITS & DUCT HEATERS
6	기계	Q	UM255B	SG00918	FANS
7	기계	Q	UM263	SG00919	EMERGENCY DIESEL GENERATORS & ALTERNATE AC DIESEL GENERATORS
8	핵	A	UN217	SG00943	FILTER HANDLING EQUIPMENT & SOLID WASTE COMPACTOR
9	핵	Q	UN229	SG00944	PASSIVE AUTOCATALYTIC RECOMBINERS
10	전력	A	UE204	SG00857	DISTRIBUTION TRANSFORMERS
11	전력	A	UE207	SG00858	22.9 kV HIGH VOLTAGE SWITCHGEARS AND CONTROL & MONITORING SYSTEM
12	전력	Q	UE208	SG00859	480 V LOAD CENTERS
13	전력	Q	UE209	SG00860	480 V MOTOR CONTROL CENTERS
14	전력	Q	UE212	SG00861	BATTERIES WITH RACKS
15	전력	Q	UE214	SG00862	BATTERY CHARGERS & REGULATING TRANSFORMERS BATTERY CHARGERS & UPS
16	전력	A	UE233	SG00863	ELECTRICAL DISTRIBUTION PANELS AND BATTERY LOAD BANK
17	계측	Q	UJ210	SG00884	AUX/LOCAL CONTROL PANELS
18	계측	A	UJ218	SG00885	LEVEL GAUGE GLASSES & FLOW MEASURING ORIFICE PLATES
19	계측	Q	UJ230A	SG00886	GENERAL TYPE FIELD INSTRUMENTS
20	계측	Q	UJ230C	SG00887	INTELLIGENT TYPE FIELD INSTRUMENTS
21	기계	A	UM202	SG00920	CONDENSER VACUUM PUMPS
22	기계	A	UM224	SG00921	AIR COMPRESSORS & AUXILIARIES
23	기계	Q	UM241	SG00922	TRAVELING SCREENS & INTAKE STRUCTURE ACCESSORIES
24	기계	Q	UM243	SG00923	MAIN STEAM ISOLATION VALVES & MAIN FEEDWATER ISOLATION VALVES
25	핵	Q	UN201	SG00945	ESSENTIAL SERVICE WATER PUMPS & SCREEN WASH PUMPS
26	핵	Q	UN204	SG00946	SAFETY-RELATED HEAT EXCHANGERS
27	핵	Q	UN205	SG00947	SHOP FABRICATED PRESSURE VESSELS & TANKS
28	핵	Q	UN211	SG00948	RADWASTE FILTERS & ESSENTIAL SERVICE WATER DEBRIS FILTERS
29	토목	Q	UC201	SG00847	CEMENT
30	토목	Q	UC204	SG00849	STRUCTURAL STEEL
31	토목	Q	UC205A	SG00850	REINFORCING STEEL BAR, ASTM BARS
32	토목	Q	UC215A	SG00852	SAFETY-RELATED SHOP FABRICATED PIPE SUPPORTS
33	전력	Q	UE216	SG00864	DC MOTOR CONTROL CENTERS
34	전력	Q	UE230	SG00865	ELECTRICAL PENETRATION ASSEMBLIES
35	전력	A	UE239	SG00866	HEAT TRACING MATERIALS
36	전력	A	UE246	SG00867	CATHODIC PROTECTION EQUIPMENT
37	계측	Q	UJ201	SG00888	HYDROGEN MONITORING SYSTEM & COMBUSTIBLE GAS MONITORS
38	계측	Q	UJ202	SG00889	RADIATION MONITORING SYSTEM
39	계측	A	UJ203	SG00890	SEISMIC MONITORING SYSTEM
40	계측	A	UJ204	SG00891	SAMPLING SYSTEM
41	계측	A	UJ205	SG00892	CCTV SYSTEM FOR PLANT OPERATION
42	계측	A	UJ206	SG00893	VIBRATION MONITORING SYSTEM
43	계측	A	UJ209	SG00894	HVAC CONTROL PANELS
44	계측	Q	UJ217B	SG00895	ULTRASONIC TYPE LEVEL SWITCHES & TRANSMITTERS
45	계측	A	UJ219	SG00896	PRESSURE SWITCHES, DIFFERENTIAL PRESSURE SWITCHES/INDICATORS
46	계측	Q	UJ224	SG00897	AVERAGING PIPOT TUBES
47	계측	Q	UJ226	SG00898	THERMAL DISPERSION TYPE INSTRUMENTS
48	계측	Q	UJ227	SG00899	TEMPERATURE ELEMENTS & THERMOWELLS FOR NUCLEAR SERVICE
49	계측	A	UJ230B	SG00900	DISPLACER TYPE TRANSMITTERS
50	계측	A	UJ231	SG00901	CONTROL VALVES FOR GENERAL SERVICE
51	계측	Q	UJ232	SG00902	CONTROL VALVES FOR SAFETY & SEVERE SERVICE
52	계측	Q	UJ233	SG00903	BUTTERFLY VALVES FOR NUCLEAR SERVICE
53	계측	A	UJ234	SG00904	BUTTERFLY VALVES FOR GENERAL SERVICE
54	계측	Q	UJ239	SG00905	SOLENOID VALVES
55	계측	Q	UJ240	SG00906	INSTRUMENT VALVES
56	기계	Q	UM214	SG00925	DIESEL FUEL OIL PUMPS & LUBE OIL TRANSFER PUMPS
57	기계	A	UM220	SG00926	CIRCULATING WATER PUMPS and TAOCW & CIRCULATING WATER SCREEN WASH PUMPS
58	기계	Q	UM227	SG00927	ESSENTAL CHILLERS & NON-ESSENTIAL CHILLERS
59	기계	A	UM248	SG00930	REACTOR CONTAINMENT BUILDING POLAR CRANE
60	기계	A	UM250	SG00931	HOISTS & MISCELLANEOUS CRANES (LESS THAN 15 TON)
61	기계	A	UM253	SG00932	NON-SAFETY-RELATED AIR HANDLING UNITS & CUBICLE COOLERS
62	기계	Q	UM254	SG00933	DAMPERS & DUCTWORK ACCESSORIES
63	기계	A	UM255A	SG00934	NON-SAFETY-RELATED AIR CLEANING UNITS
64	기계	A	UM258	SG00935	FIRE PUMPS & DRIVERS
65	기계	A	UM259	SG00936	FIRE DETECTION, PROTECTION SYSTEM AND GASEOUS FIRE PROTECTION SYSTEM
66	핵	Q	UN202	SG00949	SAFETY-RELATED CENTRIFUGAL PUMPS
67	핵	Q	UN203	SG00950	CONTAINMENT SPRAY PUMPS
68	핵	Q	UN206	SG00951	IRWST SUMP STRAINERS
69	핵	A	UN207	SG00952	GASEOUS RADWASTE SYSTEM
70	핵	A	UN208	SG00953	LIQUID RADWASTE SYSTEM (R/OPACKAGE)
71	핵	A	UN209	SG00954	R/O CONCENTRATE TREATMENT SYSTEM
72	핵	A	UN212	SG00955	POLYMER SOLIDIFICATION SYSTEM
73	핵	Q	UN215	SG00956	CONTAINMENT SPRAY NOZZLES
74	핵	Q	UN231	SG00957	SAFETY DEPRESSURIZATION & VENT SYSTEM SPARGERS
75	배관	Q	UP204	SG00959	SAFETY-RELATED MANUAL STEEL GATE, GLOBE, AND CHECK VALVES, 2 - 1/2" & LARGER
76	배관	Q	UP206A	SG00960	SAFETY-RELATED STEEL GATE & GLOBE VALVES WITH ACTUATOR
77	배관	A	UP206B	SG00961	STEEL GATE & GLOBE VALVES WITH ACTUATOR
78	배관	Q	UP206C	SG00962	SAFETY-RELATED CONTROLLED CLOSURE CHECK VALVES
79	배관	Q	UP206D	SG00963	TILTING DISC CHECK VALVES
80	배관	Q	UP208	SG00964	DIAPHRAGM VALVES
81	배관	A	UP214	SG00965	STEEL PLUG VALVES
82	배관	Q	UP216	SG00966	STRAINERS
83	토목	Q	UC208	SG00854	CONTAINMENT LINER PLATES
84	토목	Q	UC210	SG00855	STAINLESS STEEL LINER WORKS
85	토목	Q	UC215C	SG00856	SNUBBERS
86	전력	Q	UE241	SG00869	CLASS 1E POWER , CONTROL AND INSTRUMENTATION CABLES
87	전력	A	UE242	SG00870	NON-CLASS 1E POWER, LIGHTING CONTROL AND INSTRUMENTATION CABLES
88	전력	Q	UE247	SG00872	COMMUNICATION AND SPECIAL CABLES
89	전력	Q	UE248	SG00873	PREFABRICATED CABLE ASSEMBLIES
90	전력	A	UE257C	SG00879	COMMUNICATION SYSTEM(GROUP B)
91	전력	A	UE272A	SG00880	SODIUM, HALOGEN AND CERAMIC METAL HALIDE LIGHTING FIXTURES
92	전력	A	UE272D	SG00881	LED LAMPS AND FIXTURES FOR LOW AND HIGH RADIATION AREA
93	전력	A	UE277	SG00882	EMERGENCY & UNDERWATER LIGHTING FIXTURES
94	계측	A	UJ217A	SG00907	PNEUMATIC CONTROLLERS & LEVEL SWITCHES
95	계측	A	UJ221	SG00908	PRESSURE GAUGES, TEMPERATURE SWITCHES AND INDICATING THERMOMETERS
96	계측	A	UJ225	SG00909	ROTAMETERS AND MISCELLANEOUS FLOW DEVICES
97	계측	A	UJ228	SG00910	TEMPERATURE ELEMENTS & THERMOWELLS FOR GENERAL SERVICE
98	기계	A	UM217	SG00937	VERTICAL SUMP PUMPS & SUBMERSIBLE SUMP PUMPS
99	기계	Q	UM245	SG00939	SAFETY RELIEF VALVES
100	기계	A	UM246	SG00940	TURBINE AREA MAIN CRANE & FUEL HANDLING AREA CRANE, MISCELLANEOUS CRANES (15 TO 150 TON)
101	기계	Q	UM273	SG00942	FLOW RESTRICTION ELEMENTS & VENTURIS
102	배관	Q	UP202A	SG00967	SAFETY RELATED SHOP FABRICATED PIPING
103	배관	A	UP202B	SG00968	SHOP FABRICATED POWER PIPING
104	배관	A	UP202D	SG00969	SHOP FABRICATED POWER BENDING PIPING
105	배관	Q	UP207	SG00970	MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2" AND SMALLER
106	배관	A	UP209	SG00971	MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2" AND LARGER
107	배관	A	UP217	SG00972	STEAM TRAPS AND DRAIN TRAPS
108	배관	A	UP218	SG00973	VALVE EXTENSION RODS
109	배관	A	UP220	SG00974	METALLIC EXPANSION JOINTS & FLEXIBLE METAL HOSES
110	배관	Q	UP223	SG00975	CONTAINMENT PIPING PENETRATIONS
111	기계	A	SM702	SG00986	FEEDWATER CONTROL VALVE	신규품목
112	기계	Q	SM703	SG00988	STARTUP BYPASS ISOLATION VALVE
113	기계	Q	SM907	SG00989	FEEDWATER FLOW ELEMENT
114	계측	Q	SJ870A	SG00991	PRESSURE & DIFFERENTIAL PRESSURE TRANSMITTERS
115	계측	Q	SJ870B	SG00992	RESISTANCE TEMPERATURE DETECTORS

.끝.