{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["용역","공사","제조구매"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":5,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"용역","index":0,"n_rows":55,"n_cols":8,"rows_kept":55,"cut":false,"hidden":false,"merged":[[33,1,35,1],[36,1,50,1],[52,1,53,1],[1,0,54,0],[1,1,8,1],[9,1,23,1],[24,1,29,1],[30,1,32,1]],"flags":["formulas_cached_only"]}
["발주년도","발주 예상월","용  역  명","추정가격[천원]","본부[단] 명","발주부서[사업]","담당자","연락처"]
[2011,"1월","WEC형 원전 격납건물 현장실사 기술지원",150000,"원자력본부","동 사업","박상현","031-8021-6405"]
[null,null,"신규원전 후보부지 사전 환경성 검토 용역",407744,"원자력본부","동 사업","이희선","031-289-4795"]
[null,null,"취수구조물 상세설계 수리모형실험",325600,"원자력본부","신울진1,2","전영규","031-289-3263"]
[null,null,"발전소 환경친화 및 색채계획 수립",165000,"원자력본부","신울진1,2","전영규","031-289-3263"]
[null,null,"울진3,4호기 터빈 건전성 평가 및 열평형도 설계용역",180000,"원자력본부","발전BG","정상규","031-8021-6481"]
[null,null,"WEC형 원전 격납건물 3차원 이물질 이동평가",70000,"원자력본부","발전BG","박상현","031-8021-6405"]
[null,null,"WEC형 원전 격납건물 현장실사 기술지원",150000,"원자력본부","발전BG","박상현","031-8021-6405"]
[null,null,"월성1호기 내환경검증 후속조치 FMA 상세설계용역",15000,"원자력본부","발전BG","도성재","031-8021-6482"]
[null,"2월","옥외설비 구조설계",1911345,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"가동원전 설계기반문서 개발",125643,"원자력본부","동 사업","김수원","031-289-3934"]
[null,null,"신고리3,4호기 시운전 지침서/절차서 제3자 검토\n업무 패키지형 사업주기술지원용역",320000,"원자력본부","신고리3,4","백승혜","031-289-4343"]
[null,null,"신월성원자력 1,2호기 사업주기술지원용역",274746,"원자력본부","신월성1,2","임성배","031-289-3458"]
[null,null,"신월성원자력 1,2호기 사업주기술지원용역",412609,"원자력본부","신월성1,2","임성배","031-289-3458"]
[null,null,"고리1호기 안전주입계통 역지밸브 개선 기계분야 상세설계용역",30000,"원자력본부","발전BG","도성재","031-8021-6482"]
[null,null,"고리1호기 안전주입계통 역지밸브 개선 배관분야 상세설계용역",185000,"원자력본부","발전BG","도성재","031-8021-6482"]
[null,null,"고리1호기 안전주입계통 역지밸브 개선 토목분야 상세설계용역",106000,"원자력본부","발전BG","도성재","031-8021-6482"]
[null,null,"프로젝트 및 요건관리 개발 용역",370000,"원자로설계개발단","UAE원전사업","김진미","042)868-4075"]
[null,null,"Zwitina Add-on 복합 설계기술용역 건축분야상세설계도 작성",300000,"플랜트","토목건축(건축)","황인수","031-8021-6341"]
[null,null,"Zwitina Add-on 복합 설계기술용역 토목분야 상세설계도 작성",600000,"플랜트","토목건축(토목","정상균","031-8021-6307"]
[null,null,"Zwitina Add-on 복합 설계기술용역 기계배관분야 상세설계도작성",800000,"플랜트","기계배관(배관)","정진웅","031-289-3750"]
[null,null,"행복도시열병합 설계기술용역 기계분야 상세설계도 작성",600000,"플랜트","기계배관(기계)","장판기","031-289-4838"]
[null,null,"행복도시열병합 설계기술용역 배관분야 상세설계도 작성",500000,"플랜트","기계배관(배관)","정진웅","031-289-3750"]
[null,null,"행복도시열병합 설계기술용역 토목분야 상세설계도 작성",642000,"플랜트","토목건축(토목)","정상균","031-8021-6307"]
[null,"3월","사용후 연료 저장조(SFP) 열교환기 냉각용량 상세설계",1200000,"원자력본부","발전BG","김희태","031-8021-6485"]
[null,null,"고리3,4/영광1,2 고압 및 저압 스위치기어 개선 상세 설계용역",400000,"원자력본부","발전BG","김희태","031-8021-6485"]
[null,null,"고리2호기 SFP 냉각능력 평가 및 설비개선",250000,"원자력본부","발전BG","이흥주","031-8021-6483"]
[null,null,"WEC형 원전 원자로 상부구조물 단순화 AE 용역",204000,"원자력본부","발전BG","이흥주","031-8021-6483"]
[null,null,"행복도시열병합 설계기술용역 전기분야 상세설계도 작성",600000,"플랜트","전기계측(전기)","황진수","031-289-3888"]
[null,null,"행복도시열병합 설계기술용역 건축분야 상세설계도 작성",300000,"플랜트","토목건축(건축)","황인수","031-8021-6341"]
[null,"4월","신울진1,2 SWYD 지질조사",157235,"원자력본부","신울진1,2","전영규","031-289-3263"]
[null,null,"울진3~6 및 신울진1,2 SWYD 지질조사",142941,"원자력본부","신울진1,2","전영규","031-289-3263"]
[null,null,"신보령1,2호기 지질조사용역 ",500000,"플랜트","토목건축(토목)","최명달","031-8021-6309"]
[null,"5월","IPIMS 내 주요 시스템 사용자 인터페이스 및 서비스 구조 개선",420185,"원자력본부","설계정보기술그룹","안승호","031-289-3372"]
[null,null,"당진 9,10호기 종합설계기술용역 전기상세도작성",1000000,"플랜트","전기계측(전기)","이헌수","031-289-3909"]
[null,null,"당진9,10호기(계측 : IID, ILD, LWD)",500000,"플랜트","전기계측(계측)","김근식","031-289-3923"]
[null,"6월","내진건물 배관설계 및 배관내진검증",8866863,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"비내진건물 배관설계",6895465,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"대구경배관지지대 설계 및 내진실사",2404543,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"본관건물 전기설비설계",5320470,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"옥외건물 전기설비설계",3277803,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"공조배치설계 도면 작성",3178132,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"계기설치설계",470082,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"Loop Wiring Diagram 작성",1154618,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"건축설계 및 구조해석",1130255,"원자력","UAE 사업","이용규","031-289-4580"]
[null,null,"심층취배수구조물 수리모형실험",800000,"원자력본부","신울진1,2","전영규","031-289-3263"]
[null,null,"고리1호기 격납건물 내부 고에너지 배관 파단평가 원자력분야 평가용역",1321665,"원자력본부","발전BG","이오성","031-8021-6484"]
[null,null,"고리1호기 격납건물 내부 고에너지 배관 파단평가 토목분야 평가용역",358750,"원자력본부","발전BG","이오성","031-8021-6484"]
[null,null,"Zwitina Add-on 복합 설계기술용역 전기분야상세설계도 작성 ",600000,"플랜트","전기계측(전기)","황진수","031-289-3888"]
[null,null,"Zwitina Add-on 복합 설계기술용역 계측분야상세설계도 작성",100000,"플랜트","전기계측(계측)","정두환","031-289-3946"]
[null,null,"행복도시열병합 설계기술용역 계측분야 상세설계도 작성",200000,"플랜트","전기계측(계측)","정두환","031-289-3946"]
[null,"8월","Loop Wiring Diagram 설계",950472,"원자력본부","신울진1,2","전영규","031-289-3263"]
[null,"9월","삼척화력1,2호기건설 설계기술용역 계측분야 상세설계도 작성",800000,"플랜트","전기계측(계측)","임태식","031-289-3974"]
[null,null,"삼척그린파워 1,2호기 종합설계기술용역 전기상세도 작성",1500000,"플랜트","전기계측(전기)","이상윤","031-289-3903"]
[null,"11월","주설비 근무환경 개선 및 인테리어 설계",320000,"원자력본부","신울진1,2","전영규","031-289-3263"]

{"sheet":"공사","index":1,"n_rows":2,"n_cols":8,"rows_kept":2,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["발주년도","발주 예상월","공 사 명","추정가격[천원]","본부[단] 명","발주부서","담당자","연락처"]
[2011,null,"\" 현재 예정된 발주계획 없음 \""]

{"sheet":"제조구매","index":2,"n_rows":2,"n_cols":9,"rows_kept":2,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["발주년도","발주 예상월","품   명","구매예상 수량","추정가격[천원]","본부[단] 명","발주부서","담당자","연락처"]
[2011,"4월","제어봉구동장치 코일집합체 제작 구매","2 set",100000,"원자로설계개발단","상부구조분야(기계처)","김현민","042-868-4131"]