[붙임 1]

2022년도 기자재공급 유자격자 모집품목 (원자력 분야)

주1) 각 품목별 기술규격 및 사양은 평가 신청시 각 품목별로 시스템상에서 확인하실 수 있습니다.(매뉴얼 참고)

주2) 당사의 별도 공고가 없는 한 2022년 유자격 모집 품목은 본 110개 품목에 한정합니다.

주3) 심사의뢰를 위해서는 붙임3.시스템 매뉴얼에 따라 시스템상 '표준MR No. 또는 SG Code' 입력이 필요합니다.

주4) 모집품목별 기술규격/사양은 당사 업체관리시스템(https://p-manager.kepco-enc.com)에서 다운로드 가능합니다.

No.	분류	품질등급	표준 MR No.	SG Code	품목명	비 고 (보유필요코드)	평가 시기
1	기계	A	UM204A	SG00845	MAIN FEEDWATER PUMPS, START-UP FEEDWATER PUMPS, AND CONDENSATE PUMPS & FEEDWATER BOOSTER PUMPS		1군
2	기계	A, S	UM212	SG00913	CENTRIFUGAL PUMPS		1군
3	기계	A, S	UM229A	SG00914	NON-SAFETY-RELATED HEAT EXCHANGERS (PLATE TYPE / SHELL & TUBE TYPE)	(ASME U)	1군
4	기계	Q, A	UM251	SG00916	SAFETY RELATED AIR HANDLING UNITS, CUBICLE COOLERS AND NON-SAFETY RELATED RCFCS	(KEPIC MN/MH/EN) (ASMEN)	1군
5	기계	Q, A	UM252	SG00917	SAFETY-RELATED AIR CLEANING UNITS & DUCT HEATERS	(KEPIC MH/EN)	1군
6	기계	Q, A, S	UM255B	SG00918	FANS	(ASME N) (KEPICMH/EN)	1군
7	기계	Q, A	UM263	SG00919	EMERGENCY DIESEL GENERATORS & ALTERNATE AC DIESEL GENERATORS	(KEPIC MN/EN) (ASMEN)	1군
8	핵	A, S	UN217	SG00943	FILTER HANDLING EQUIPMENT & SOLID WASTE COMPACTOR		1군
9	핵	Q, A, S	UN229	SG00944	PASSIVE AUTOCATALYTIC RECOMBINERS		1군
10	전력	A, S	UE204	SG00857	DISTRIBUTION TRANSFORMERS		2군
11	전력	A, S	UE207	SG00858	22.9 kV HIGH VOLTAGE SWITCHGEARS AND CONTROL & MONITORING SYSTEM		2군
12	전력	Q, A, S	UE208	SG00859	480 V LOAD CENTERS	(KEPIC EN)	2군
13	전력	Q, A, S	UE209	SG00860	480 V MOTOR CONTROL CENTERS	(KEPIC EN)	2군
14	전력	Q, A	UE212	SG00861	BATTERIES WITH RACKS	(KEPIC EN)	2군
15	전력	Q, A, S	UE214	SG00862	BATTERY CHARGERS & REGULATING TRANSFORMERS BATTERY CHARGERS & UPS	(KEPIC EN)	2군
16	전력	A, S	UE233	SG00863	ELECTRICAL DISTRIBUTION PANELS AND BATTERY LOAD BANK		2군
17	계측	Q, A, S	UJ210	SG00884	AUX/LOCAL CONTROL PANELS	(KEPIC MN/EN)	2군
18	계측	A, S	UJ218	SG00885	LEVEL GAUGE GLASSES & FLOW MEASURING ORIFICE PLATES		2군
19	계측	Q, A	UJ230A	SG00886	GENERAL TYPE FIELD INSTRUMENTS	(KEPIC EN)	2군
20	계측	Q, A, S	UJ230C	SG00887	INTELLIGENT TYPE FIELD INSTRUMENTS	(KEPIC EN)	2군
21	기계	A, S	UM202	SG00920	CONDENSER VACUUM PUMPS		2군
22	기계	A	UM224	SG00921	AIR COMPRESSORS & AUXILIARIES		2군
23	기계	Q, A, S	UM241	SG00922	TRAVELING SCREENS & INTAKE STRUCTURE ACCESSORIES	(KEPIC EN)	2군
24	기계	Q	UM243	SG00923	MAIN STEAM ISOLATION VALVES & MAIN FEEDWATER ISOLATION VALVES	(ASME N/U) (KEPICMN/EN)	2군
25	핵	Q	UN201	SG00945	ESSENTIAL SERVICE WATER PUMPS & SCREEN WASH PUMPS	(KEPIC MN)	2군
26	핵	Q	UN204	SG00946	SAFETY-RELATED HEAT EXCHANGERS	(KEPIC MN)	2군
27	핵	Q	UN205	SG00947	SHOP FABRICATED PRESSURE VESSELS & TANKS	(KEPIC MN)	2군
28	핵	Q,A	UN211	SG00948	RADWASTE FILTERS & ESSENTIAL SERVICE WATER DEBRIS FILTERS	(KEPIC MN)	2군
29	토목	Q	UC201	SG00847	CEMENT	(KEPIC SNB)	3군
30	토목	Q, A, S	UC204	SG00849	STRUCTURAL STEEL	(KEPIC SN)	3군
31	토목	Q	UC205A	SG00850	REINFORCING STEEL BAR, ASTM BARS	(KEPIC SN)	3군
32	토목	Q	UC215A	SG00852	SAFETY-RELATED SHOP FABRICATED PIPE SUPPORTS	(KEPIC MN) (ASMENS)	3군
33	전력	Q ,A, S	UE216	SG00864	DC MOTOR CONTROL CENTERS	(KEPIC EN)	3군
34	전력	Q, A	UE230	SG00865	ELECTRICAL PENETRATION ASSEMBLIES	(ASME NPT)	3군
35	전력	A, S	UE239	SG00866	HEAT TRACING MATERIALS		3군
36	전력	A, S	UE246	SG00867	CATHODIC PROTECTION EQUIPMENT		3군
37	계측	Q, A, S	UJ201	SG00888	HYDROGEN MONITORING SYSTEM & COMBUSTIBLE GAS MONITORS		3군
38	계측	Q, A, S	UJ202	SG00889	RADIATION MONITORING SYSTEM	(KEPIC MN/EN)	3군
39	계측	A	UJ203	SG00890	SEISMIC MONITORING SYSTEM		3군
40	계측	A, S	UJ204	SG00891	SAMPLING SYSTEM		3군
41	계측	A, S	UJ205	SG00892	CCTV SYSTEM FOR PLANT OPERATION		3군
42	계측	A, S	UJ206	SG00893	VIBRATION MONITORING SYSTEM		3군
43	계측	A, S	UJ209	SG00894	HVAC CONTROL PANELS		3군
44	계측	Q, A, S	UJ217B	SG00895	ULTRASONIC TYPE LEVEL SWITCHES & TRANSMITTERS	(KEPIC MN/EN)	3군
45	계측	A, S	UJ219	SG00896	PRESSURE SWITCHES, DIFFERENTIAL PRESSURE SWITCHES/INDICATORS		3군
46	계측	Q, A, S	UJ224	SG00897	AVERAGING PIPOT TUBES	(KEPIC MN/EN) (ASMEN)	3군
47	계측	Q, A, S	UJ226	SG00898	THERMAL DISPERSION TYPE INSTRUMENTS	(KEPIC EN)	3군
48	계측	Q, A	UJ227	SG00899	TEMPERATURE ELEMENTS & THERMOWELLS FOR NUCLEAR SERVICE	(KEPIC MN/EN) (ASMEN)	3군
49	계측	A, S	UJ230B	SG00900	DISPLACER TYPE TRANSMITTERS		3군
50	계측	A	UJ231	SG00901	CONTROL VALVES FOR GENERAL SERVICE		3군
51	계측	Q, A	UJ232	SG00902	CONTROL VALVES FOR SAFETY & SEVERE SERVICE	(KEPIC MN) (ASMEN)	3군
52	계측	Q	UJ233	SG00903	BUTTERFLY VALVES FOR NUCLEAR SERVICE	(KEPIC MN) (ASMEN)	3군
53	계측	A	UJ234	SG00904	BUTTERFLY VALVES FOR GENERAL SERVICE	(ASME N)	3군
54	계측	Q, A	UJ239	SG00905	SOLENOID VALVES	(KEPIC MN/EN) (ASMEN)	3군
55	계측	Q, A, S	UJ240	SG00906	INSTRUMENT VALVES	(KEPIC MN)	3군
56	기계	Q, S	UM214	SG00925	DIESEL FUEL OIL PUMPS & LUBE OIL TRANSFER PUMPS	(KEPIC MN/EN) (ASMEN)	3군
57	기계	A	UM220	SG00926	CIRCULATING WATER PUMPS and TAOCW & CIRCULATING WATER SCREEN WASH PUMPS		3군
58	기계	Q, A	UM227	SG00927	ESSENTAL CHILLERS & NON-ESSENTIAL CHILLERS	(KEPIC MN/MH/EN) (ASMEN)	3군
59	기계	A	UM248	SG00930	REACTOR CONTAINMENT BUILDING POLAR CRANE		3군
60	기계	A, S	UM250	SG00931	HOISTS & MISCELLANEOUS CRANES (LESS THAN 15 TON)		3군
61	기계	A, S	UM253	SG00932	NON-SAFETY-RELATED AIR HANDLING UNITS & CUBICLE COOLERS	(KEPIC MH)	3군
62	기계	Q, A, S	UM254	SG00933	DAMPERS & DUCTWORK ACCESSORIES	(KEPIC MH/EN) (UL(FireDamper/Humidifier))	3군
63	기계	A	UM255A	SG00934	NON-SAFETY-RELATED AIR CLEANING UNITS	(KEPIC MH)	3군
64	기계	A	UM258	SG00935	FIRE PUMPS & DRIVERS	(KFI)	3군
65	기계	A	UM259	SG00936	FIRE DETECTION, PROTECTION SYSTEM AND GASEOUS FIRE PROTECTION SYSTEM	(KFI)	3군
66	핵	Q	UN202	SG00949	SAFETY-RELATED CENTRIFUGAL PUMPS	(KEPIC MN/EN)	3군
67	핵	Q	UN203	SG00950	CONTAINMENT SPRAY PUMPS	(KEPIC MN/EN)	3군
68	핵	Q	UN206	SG00951	IRWST SUMP STRAINERS		3군
69	핵	A	UN207	SG00952	GASEOUS RADWASTE SYSTEM		3군
70	핵	A	UN208	SG00953	LIQUID RADWASTE SYSTEM (R/OPACKAGE)		3군
71	핵	A	UN209	SG00954	R/O CONCENTRATE TREATMENT SYSTEM		3군
72	핵	A, S	UN212	SG00955	POLYMER SOLIDIFICATION SYSTEM		3군
73	핵	Q	UN215	SG00956	CONTAINMENT SPRAY NOZZLES	(KEPIC MN)	3군
74	핵	Q	UN231	SG00957	SAFETY DEPRESSURIZATION & VENT SYSTEM SPARGERS	(KEPIC MN)	3군
75	배관	Q	UP204	SG00959	SAFETY-RELATED MANUAL STEEL GATE, GLOBE, AND CHECK VALVES, 2 - 1/2" & LARGER	(KEPIC MN/EN) (ASMEN)	3군
76	배관	Q	UP206A	SG00960	SAFETY-RELATED STEEL GATE & GLOBE VALVES WITH ACTUATOR	(KEPIC MN) (ASMEN)	3군
77	배관	A	UP206B	SG00961	STEEL GATE & GLOBE VALVES WITH ACTUATOR	(ISO)	3군
78	배관	Q	UP206C	SG00962	SAFETY-RELATED CONTROLLED CLOSURE CHECK VALVES	(KEPIC MN) (ASMEN)	3군
79	배관	Q, A, S	UP206D	SG00963	TILTING DISC CHECK VALVES	(KEPIC MN / ISO) (ASMEN/ISO)	3군
80	배관	Q, A	UP208	SG00964	DIAPHRAGM VALVES	(KEPIC MN / ISO) (ASMEN/ISO)	3군
81	배관	A	UP214	SG00965	STEEL PLUG VALVES	(ISO)	3군
82	배관	Q, A, S	UP216	SG00966	STRAINERS	(KEPIC MN / ISO) (ASMEN/ISO)	3군
83	토목	Q	UC208	SG00854	CONTAINMENT LINER PLATES	(KEPIC MN/SN)	4군
84	토목	Q, A	UC210	SG00855	STAINLESS STEEL LINER WORKS	(KEPIC MN/SN)	4군
85	토목	Q, S	UC215C	SG00856	SNUBBERS	(ASME NS)	4군
86	전력	Q	UE241	SG00869	CLASS 1E POWER , CONTROL AND INSTRUMENTATION CABLES	(KEPIC EN)	4군
87	전력	A	UE242	SG00870	NON-CLASS 1E POWER, LIGHTING CONTROL AND INSTRUMENTATION CABLES		4군
88	전력	Q, A, S	UE247	SG00872	COMMUNICATION AND SPECIAL CABLES		4군
89	전력	Q, A	UE248	SG00873	PREFABRICATED CABLE ASSEMBLIES	(KEPIC EN)	4군
90	전력	A, S	UE257C	SG00879	COMMUNICATION SYSTEM(GROUP B)		4군
91	전력	A, S	UE272A	SG00880	SODIUM, HALOGEN AND CERAMIC METAL HALIDE LIGHTING FIXTURES		4군
92	전력	A, S	UE272D	SG00881	LED LAMPS AND FIXTURES FOR LOW AND HIGH RADIATION AREA	(KS C7651/C7653)	4군
93	전력	A, S	UE277	SG00882	EMERGENCY & UNDERWATER LIGHTING FIXTURES	(UL 924)	4군
94	계측	A, S	UJ217A	SG00907	PNEUMATIC CONTROLLERS & LEVEL SWITCHES		4군
95	계측	A, S	UJ221	SG00908	PRESSURE GAUGES, TEMPERATURE SWITCHES AND INDICATING THERMOMETERS		4군
96	계측	A, S	UJ225	SG00909	ROTAMETERS AND MISCELLANEOUS FLOW DEVICES		4군
97	계측	A, S	UJ228	SG00910	TEMPERATURE ELEMENTS & THERMOWELLS FOR GENERAL SERVICE		4군
98	기계	A, S	UM217	SG00937	VERTICAL SUMP PUMPS & SUBMERSIBLE SUMP PUMPS		4군
99	기계	Q, A, S	UM245	SG00939	SAFETY RELIEF VALVES	(ASME NV/UV) (KEPICMN)	4군
100	기계	A, S	UM246	SG00940	TURBINE AREA MAIN CRANE & FUEL HANDLING AREA CRANE, MISCELLANEOUS CRANES (15 TO 150 TON)		4군
101	기계	Q, A, S	UM273	SG00942	FLOW RESTRICTION ELEMENTS & VENTURIS	(KEPIC MN) (ASMENPT)	4군
102	배관	Q	UP202A	SG00967	SAFETY RELATED SHOP FABRICATED PIPING	(KEPIC MN) (ASMENPT)	4군
103	배관	A	UP202B	SG00968	SHOP FABRICATED POWER PIPING	(ISO)	4군
104	배관	A	UP202D	SG00969	SHOP FABRICATED POWER BENDING PIPING	(ISO)	4군
105	배관	Q, A	UP207	SG00970	MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2" AND SMALLER	(KEPIC MN / ISO) (ASMEN/ISO)	4군
106	배관	A	UP209	SG00971	MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2" AND LARGER	(ISO)	4군
107	배관	A, S	UP217	SG00972	STEAM TRAPS AND DRAIN TRAPS	(ISO)	4군
108	배관	A	UP218	SG00973	VALVE EXTENSION RODS	(ISO)	4군
109	배관	A,S	UP220	SG00974	METALLIC EXPANSION JOINTS & FLEXIBLE METAL HOSES	(ISO)	4군
110	배관	Q, A	UP223	SG00975	CONTAINMENT PIPING PENETRATIONS	(KEPIC MN) (ASMENPT)	4군

1군 : No.1~9 (9개 품목), 2군 : No.10~28(19개 품목), 3군 : No.29~82(54개 품목), 4군 : No.83~110(28개 품목). 끝.