{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["신고리 5,6호기 내환경검증현황"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"신고리 5,6호기 내환경검증현황","index":0,"n_rows":110,"n_cols":4,"rows_kept":110,"cut":false,"hidden":false,"merged":[]}
["기기검증보고서 번호","업체명","기기번호","기기식별"]
["E207-ER-B01-01","선도전기(주)","5/6-823-E-SW01A/SW01B/SW02A/SW02B","Class 1E 4.16 kV Switchgears"]
["E208-ER-B01-01","(주)비츠로테크","5/6-825-E-LC01A, LC01B, LC02A, LC02B, LC02 ","Class 1E Load Centers"]
["E209-ER-B01-01","엘에스일렉트릭(주)","Various","Class 1E 480 V AC MCC, Local Starter, Fuse Terminal Box"]
["E212-ER-B01-01","GLOBAL BATTERY CO.LTD","5/6-841-E-BT01A/BT01B/BT01C/BT01D","Class 1E Batteries"]
["E214-ER-C01-01","국제 전기(주)","5/6-841-E-BC01A/B/C/D","Battery Charger"]
["E214-ER-C01-02","국제 전기(주)","5/6-841-E-IN01A/B/C/D","MOV Inverter"]
["E214-ER-C01-03","국제 전기(주)","5/6-842-E-TR01A/B/C/D","Regulating TR"]
["E216-ER-B01-01","현대일렉트릭(주)","5/6-841-E-MC01A, 5/6-841-E-MC01B, 5/6-841-E-MC01C, 5/6-841-E-MC01D, 5/6-542-E-SQ01C, 5/6-542-E-SQ01D, 5/6-441-E-SQ02C, 5/6-441-E-SQ02D","Class 1E DC MCC, Local Starter"]
["E230-ER-B01-03","MIRION TECHNOLOGIES","Various","Electrical Penetration Assemblies\n(Low voltage Power and Low voltage Control)"]
["E230-ER-B02-03","MIRION TECHNOLOGIES","Various","Electrical Penetration Assemblies\n(Medium voltage Power)"]
["E230-ER-B03-03","MIRION TECHNOLOGIES","Various","Electrical Penetration Assemblies (Instrumentation)"]
["E230-ER-C01-01","MIRION TECHNOLOGIES","Various","Electrical Penetration Assemblies\n(Instrumentation)"]
["E240-ER-B02-01","MIRION TECHNOLOGIES","Various","Electrical Conductor Sealing Assemblies"]
["E241-ER-A01-01","LS CABLE","Various","CLASS 1E POWER , CONTROL AND INSTRUMENT CABLES"]
["E241-ER-A01-02","LS CABLE","Various","CLASS 1E POWER , CONTROL AND INSTRUMENT CABLES"]
["E247-ER-A00-01","HABIA CABLE AB","Various","Class 1E Thermocouple Cables"]
["E247-ER-A00-02","HABIA CABLE AB","Various","Class 1E Pressurizer Heater Power Cable"]
["E247-ER-A00-03","HABIA CABLE AB","Various","Class 1E Coaxial Cable (RG 58)"]
["J201-ER-C01-01","DELPHI CONTROL SYSTEMS, INC.","5/6-763-J-LP02A/02B","Hydrogen Monitoring Cabinet\nSupersede 예정임"]
["J210-ER-B01-01","VITZROSYS CO., LTD","5/6-633-J-LP01A,LP01B,LP01C,LP01D 외 Various","Control Panel 외 Various"]
["J217C-ER-B01-01","HITROL CO., LTD.","5/6-481-J-LE/LIT-0050A, 0051B, 0052C, 0053D, 0079A, 0080B, 0085A, 0086B, 0091C, 0092D, 0097C, 0098D","Ultrasonic Type Level Elements and Transmitters"]
["J217C-ER-C01-01","HITROL CO., LTD.","5/6-481-J-LE/LIT-0050A, 0051B, 0052C, 0053D, 0079A, 0080B, 0085A, 0086B, 0091C, 0092D, 0097C, 0098D","Ultrasonic Type Level Elements and Transmitters"]
["J226-ER-B01-01","HITROL CO., LTD.","various","Flow Element & Transmitter,\nLevel Element & Transmitter\n"]
["J227-ER-B01-01","(주)우진","STC-101,201,301-1,301-2,401\nSRD-101, TEW-101, TW-101,201,301,501","Thermocouple, RTD, Thermowell"]
["J230A-ER-A01-01","ROSEMOUNT NUCLEAR INSTRUMENTS, INC","5/6-447-J-PT-0390A  외 Various","Pressure Transmitter (Model No. 3154N)"]
["J230A-ER-A02-01","ROSEMOUNT NUCLEAR INSTRUMENTS, INC","5/6-542-J-FT-0017, 5/6-542-J-FT-0018, 5/6-442-J-FT-0338C, 5/6-442-J-FT-0348D, 5/6-447-J-LT-0390B, 5/6-447-J-LT-0391A, 5/6-543-J-LT-0003A, 5/6-543-J-LT-0004B, 5/6-461-J-LT-0009C, 5/6-461-J-LT-0010D, 5/6-461-J-LT-0011C, 5/6-461-J-LT-0012D","Pressure Transmitter (Model No. 3152N)"]
["J230C-ER-B01-01","두온시스템 주식회사","0-472-J-LT-0069 외 Various","Pressure Transmitter (Model No. APT3700N)"]
["J232B-ER-A01-44","(주)위어인터내셔날","5/6-521-V-0101, 0102, 0103, 0104","Electro-Hydraulic Actuator Assembly"]
["J232B-ER-A01-45","(주)위어인터내셔날","5/6-461-V-0901, 5/6-461-V-0902, 5/6-461-V-0905, 5/6-461-V-0906, 5/6-633-V-0906A, 5/6-633-V-0906B","I/P Converter"]
["J232B-ER-A01-47","(주)위어인터내셔날","5/6-461-V-0901, 0902, 0905, 0906, 5/6-521-V-0131, 0132, 5/6-527-V-0009, 0010, 5/6-633-V-0906A, 0906B","Positioner and Volume Booster"]
["J232B-ER-A01-48","(주)위어인터내셔날","5/6-481-V-0006, 5/6-521-V-0090, 0091, 0092, 0093, 0101, 0102, 0103, 0104, 0131, 0132. 0133, 0134, \n5/6-527-V-0007, 0008, 0009, 0010, 5/6-541-V-0138, 0139, 5/6-542-V-1015, 1016, 1017, 1018, 5/6-594-V-0001, \n5/6-596-V-0020, 5/6-633-V-0906A, 0906B, 5/6-669-V-0004, 5/6-691-V-0030 ","Limit Switch with ECSA"]
["J232B-ER-A01-51","(주)위어인터내셔날","5/6-521-V-0131, 0132","Pressure Indicator"]
["J232B-ER-A01-53","(주)위어인터내셔날","5/6-481-V-0006, 5/6-521-V-0090, 5/6-521-V-0091, 5/6-521-V-0092, 5/6-521-V-0093, 5/6-521-V-0131, 5/6-521-V-0132, 5/6-521-V-0133, 5/6-521-V-0134, 5/6-527-V-0007, 5/6-527-V-0008, 5/6-527-V-0009, 5/6-527-V-0010, 5/6-541-V-0138, 5/6-541-V-0139, 5/6-594-V-0001, 5/6-596-V-0020, 5/6-669-V-0004, 5/6-691-V-0030","Airfilter Regulator"]
["J232B-ER-B01-02","(주)위어인터내셔날","5/6-461-V-0901, 5/6-461-V-0902, 5/6-461-V-0905, 5/6-461-V-0906, 5/6-521-V-0131, 5/6-521-V-0132, 5/6-527-V-0009, 5/6-527-V-0010","Spring Return Pneumatic Actuator"]
["J232B-ER-B01-03","(주)위어인터내셔날","5/6-521-V-0090, 5/6-521-V-0091, 5/6-521-V-0092, 5/6-521-V-0093, 5/6-521-V-0133, 5/6-521-V-0134, 5/6-527-V-0007, 5/6-527-V-0008, 5/6-541-V-0138, 5/6-541-V-0139, 5/6-594-V-0001, 5/6-596-V-0020, 5/6-669-V-0004","Spring Return Pneumatic Actuator"]
["J232B-ER-B01-04","(주)위어인터내셔날","5/6-521-V-0101, 5/6-521-V-0102, 5/6-521-V-0103, 5/6-521-V-0104","Electro-Hydraulic Actuator"]
["J232B-ER-B01-53","(주)위어인터내셔날","5/6-481-V-0006, 5/6-521-V-0090,0091,0092, 0093, 5/6-521-V-0131,0132, 5/6-521-V-0133,0134, 5/6-527-V-0007,0008, 5/6-527-V-0009,0010, 5/6-541-V-0138,0139, 5/6-594-V-0001, 5/6-596-V-0020, 5/6-669-V-0004, 5/6-691-V-0030","Air Filter Regulator"]
["J232B-ER-B01-54","(주)위어인터내셔날","5/6-461-V-0901,0902,0905,0906, 5/6-481-V-0006, 5/6-521-V-0090,0091,0092,0093, 5/6-521-V-0101,0102,0103,0104, 5/6-521-V-0131,0132, 5/6-521-V-0133,0134, 5/6-527-V-0007,0008, 5/6-527-V-0009,0010, 5/6-541-V-0138,0139, 5/6-542-V-1015,1016, 5/6-542-V-1017,1018, 5/6-594-V-0001, 5/6-596-V-0020, 5/6-633-V-0906A,0906B, 5/6-669-V-0004, 5/6-691-V-0030","Non-metailc(Graphite) valve components (Plug/Case U-seal, Gaskets)"]
["J232B-ER-B01-55","(주)위어인터내셔날","5/6-461-V-0901,0902,0905,0906, 5/6-481-V-0006, 5/6-521-V-0090,0091,0092,0093, 5/6-521-V-0101,0102,0103,0104, 5/6-521-V-0131,0132, 5/6-521-V-0133,0134, 5/6-527-V-0007,0008, 5/6-527-V-0009,0010, 5/6-541-V-0138,0139, 5/6-542-V-1015,1016, 5/6-542-V-1017,1018, 5/6-594-V-0001, 5/6-596-V-0020, 5/6-633-V-0906A,0906B, 5/6-669-V-0004, 5/6-691-V-0030","Non-metailc(All other Materials) valve components (Plug/Case U-seal, Gaskets, Gland Packing Rings, Gland Packing Bush, Peek Insert)"]
["J232B-ER-C01-01","(주)위어인터내셔날","5/6-461-V-0901,0902,0905,0906, 5/6-633-V-0906A,0906B","IP Converter(GT25CA-1826), Filter Regulator for I/P Converter(GFH25XT1767F), Filter Regulator for Valve(GFH25XT1767G)"]
["J233-ER-B01-01","SAMSHIN LIMITED","various","Limitorque Motor Actuator, Valve"]
["J233-ER-B05-01","SAMSHIN LIMITED","5/6-461-V-0021,22,23,24,25,26,27,28, 5/6-462-V-0067,68","Potentiometer"]
["M206-ER-D01-01","현대중공업터보기계 ㈜","5/6-542-M-PP01A/B\n5/6-542-M-PP02A/B\n5/6-527-M-TA01A/B","T/D AUX. FEEDWATER PUMP\nM/D AUX. FEEDWATER PUMP\nAUX. FEEDWATER PUMP TURBINE"]
["M206-ER-D01-02","현대중공업터보기계 ㈜","\n5/6-542-M-PP02A/B","\nM/D AUX. FEEDWATER PUMP MOTOR"]
["M206-ER-D01-03","현대중공업터보기계 ㈜","5/6-542-M-PP72A/B","AUX. OIL PUMP"]
["M206-ER-D01-04","현대중공업터보기계 ㈜","Various","MANUAL & CHECK VALVES"]
["M206-ER-D01-05","현대중공업터보기계 ㈜","5/6-542-M-PP01A/B-B3","SENSOR TERMINAL BLOCK BOX"]
["M206-ER-D01-06","현대중공업터보기계 ㈜","5/6-527-JZZ-3001C, 5/6-527-JZZ-3001D, 5/6-527-JZZ-3002C, 5/6-527-JZZ-3002D","SPLENOID ACTUATOR"]
["M206-ER-D01-07","현대중공업터보기계 ㈜","N/A","Hydraulic Amplifier"]
["M206-ER-D01-08","현대중공업터보기계 ㈜","5/6-542-M-PP01A, 5/6-542-M-PP01B","TURBINE DRIVEN AUX. FEEDWATER PUMP"]
["M206-ER-D01-09","현대중공업터보기계 ㈜","5/6-527-V3009, 5/6-527-V3010","TRIP & THROTTLE VALVE"]
["M206-ER-D01-10","현대중공업터보기계 ㈜","5/6-527-J-LP01C/D","Local Control Panel for Turbine Driven AFWP"]
["M206-ER-D01-11","현대중공업터보기계 ㈜","5/6-542-M-PP72A, 5/6-542-M-PP72B","AUX. OIL PUMP"]
["M206-ER-D01-12","현대중공업터보기계 ㈜","5/6-527-V3007, 5/6-527-V3008, 5/6-527-M-TP71A/B , 5/6-527-M-TP72A/B","PRESSURE REGULATING VALVE & STEAM TRAP"]
["M206-ER-D01-14","현대중공업터보기계 ㈜","N/A","Limit Switch"]
["M206-ER-D01-15","현대중공업터보기계 ㈜","5/6-527-V-3007/3008","Pressure Regulation Valve for AFWP Turbine"]
["M214-ER-C01-01","신신기계(주)","5/6-595-M-PP01A/B, 5/6-595-M-PP02A/B","EDG DIESEL FUEL OIL TRANSFER PUMP"]
["M214-ER-C02-01","신신기계(주)","5/6-595-M-PP01A/B, 5/6-595-M-PP02A/B","EDG DIESEL FUEL OIL TRANSFER PUMP MOTOR"]
["M227-ER-B01-01","LG전자(주)","5/6-633-M-CH01A/B, 5/6-633-M-CH02A/B","Essential Chiller"]
["M241-ER-B01-01","(주)무진기연","5/6-553-M-TS09A/B","ESW TRAVELING SCREEN (DRIVE MOTOR)"]
["M243-ER-B01-01(VOID)","FLOWSERVE US, INC.","5/6-521-V-0011, 5/6-521-V-0012, 5/6-521-V-0013, 5/6-521-V-0014, 5/6-521-V-0015, 5/6-521-V-0016, 5/6-521-V-0017, 5/6-521-V-0018, 5/6-541-V-0121, 5/6-541-V-0122, 5/6-541-V-0123, 5/6-541-V-0124, 5/6-541-V-0131, 5/6-541-V-0132, 5/6-541-V-0133, 5/6-541-V-0134","MAIN STEAM ISOLATION VALVE\nMAIN STEAM ISOLATION VALVE BYPASS VALVE\nMAIN FEEDWATER ISOLATION VALVE (ECONOMIZER)\nMAIN FEEDWATER ISOLATION VALVE (DOWNCOMER)"]
["M251-ER-B03-01","LG전자(주)","Various","SAFETY-RELATED CUBICLE COOLER"]
["M251-ER-C02-01","LG전자(주)","5/6-601-M-HV01A/B","Control Room Supply Air Handling Unit"]
["M252-ER-B01-01","(주)센추리","5/6-M-601-AU01A/B, \n5/6-M-604-AU02A/B, \n5/6-M-606-AU01A/02A, \n5/6-M-606-AU01B/02B","CONTROL ROOM EMERGENCY MAKEUP ACU,\nFUEL HANDLING AREA EMERGENCY EXHAUST ACU,\nAUX. BLDG. CONTROLLED AREA I EMERGENCY EXHAUST ACU,\nAUX. BLDG. CONTROLLED AREA II EMERGENCY EXHAUST ACU,"]
["M252-ER-B01-02","(주)센추리","5/6-601-M-AU01A, 5/6-601-M-AU01B, 5/6-604-M-AU02A, 5/6-604-M-AU02B, 5/6-606-M-AU01A, 5/6-606-M-AU01B, 5/6-606-M-AU02A, 5/6-606-M-AU02B","CONTROLLED ROOM EMERGENCY MAKEUP ACU, FUEL HANDLING AREA EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(I) EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(II) EMERGENY EXHAUST ACU"]
["M252-ER-B01-03","(주)센추리","5/6-601-M-AU01A, 5/6-601-M-AU01B, 5/6-604-M-AU02A, 5/6-604-M-AU02B, 5/6-606-M-AU01A, 5/6-606-M-AU01B, 5/6-606-M-AU02A, 5/6-606-M-AU02B","CONTROLLED ROOM EMERGENCY MAKEUP ACU, FUEL HANDLING AREA EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(I) EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(II) EMERGENY EXHAUST ACU"]
["M252-ER-C01-01","(주)센추리","5/6-602-M-HC01A&B, 5/6-602-M-HC02A&B, 5/6-602-M-HC03A&B, 5/6-602-M-HC04A&B, 5/6-602-M-HC05A&B, 5/6-602-M-HC06A&B, 5/6-603-M-HC01A&B, 5/6-603-M-HC03A&B, 5/6-603-M-HC04A&B.","D/G CONTROL PANEL ROOM ELECTRIC DUCT HEATER(EDH), DIESEL FUEL OIL STORAGE TANK VAULT EDH, TANK ROOM EDH, CLASS 1E BATTERY ROOM EDH, REMOTE SHUTDOWN ROOM EDH"]
["M254-ER-B01-01","Hi-Air Korea Co. LTD","5/6-601-Y-VC-0013A & Various","Control Damper (PSR BY)"]
["M254-ER-B02-01","Hi-Air Korea Co. LTD","Various","Manual Damper(CK Type)"]
["M254-ER-C01-01","Hi-Air Korea Co. LTD","5/6-602-Y-VD-0001A & Various","Control Damper (PSR PB)"]
["M254-ER-C01-02","Hi-Air Korea Co. LTD","5/6-602-Y-VD-1057A & Various","Manual Damper"]
["M255B-ER-B01-01","(주)태일송풍기","5/6-602-M-AH01A&AH01B & Various","Fans"]
["M263-ER-B02-01","현대중공업","5/6-591-M-DG01A, 5/6-591-M-DG01B","CLASS 1E DIESEL GENERATOR including ENGINE"]
["M263-ER-B02-16","현대중공업","5/6-591-M-ZM03A, 5/6-591-M-ZM03B","Over speed air rack"]
["M263-ER-B02-21","현대중공업","5/6-591-J-IR01A/B, 5/6-591-J-IR02A/B, 5/6-591-J-IR03A/B","Instrument Board"]
["M263-ER-B02-22","현대중공업","5/6-591-J-LP02A/B","Engine Panel"]
["M263-ER-B02-23","현대중공업","Various","Various"]
["M263-ER-B03-11","현대중공업","5/6-591-M-PP33A, 5/6-591-M-PP01A, 5/6-591-M-PP22A, 5/6-591-M-PP22B, 5/6-591-M-PP33B, 5/6-591-M-PP01B","PRELUBE OIL PUMP"]
["M263-ER-B03-12","현대중공업","5/6-591-M-PP33A, 5/6-591-M-PP01A, 5/6-591-M-PP22A, 5/6-591-M-PP22B, 5/6-591-M-PP33B, 5/6-591-M-PP01B","PRELUBE OIL PUMP, FUEL OIL FEED PUMP, PRE-HEATING HT WATER PUMP"]
["M263-ER-B03-74","현대중공업","5/6-591-V3098A/B","SOLENOID VALVE for AIR RECEIVER"]
["M263-ER-B04-01","현대중공업","5/6-591-M-DG01A, 5/6-591-M-DG01B","Emergency diesel generator"]
["M263-ER-B05-01","현대중공업","5/6-591-E-DP02A, 5/6-591-E-DP02B, 5/6-591-E-DP03A, 5/6-591-E-DP03B, 5/6-591-E-DP04A, 5/6-591-E-DP04B","Cubicles for emergency diesel generator"]
["M263-ER-B06-01","현대중공업","5/6-591-J-LP01A/B","Local Control Panel"]
["M263-ER-B07-01","현대중공업","5/6-591-J-LI-3001A/B, 5/6-591-J-LI-3010A/B, 5/6-595-J-LI-3025A/3026B, 5/6-591-J-LS-3001A01/A02/B01/B02, 5/6-591-J-LS-3010A01/A02/B01/B02, 5/6-595-J-LS-3025A01/A02/A03/A04, 5/6-595-J-3026B01/B02/B03/B04","Level Indicator & Switches"]
["M263-ER-B07-02","현대중공업","5/6-591-J-ZM01A/B, 5/6-591-J-ZM02A/B, 5/6-591-J-ZM06A/B, ","Starting air frame"]
["N201-ER-B01-01","신신기계(주)","5/6-462-M-PP01A/B, 5/6-462-M-PP02A/B, 5/6-553-M-PP03A/B , 5/6-553-M-PP04A/B","ESSENTIAL SERVICE WATER PUMP,\nESSENTIAL SERVICE WATER SCREEN WASH PUMP"]
["N201-ER-B01-02","신신기계(주)","5/6-462-M-PP01A/B, 5/6-462-M-PP02A/B","ESSENTIAL SERVICE WATER PUMP"]
["N201-ER-B01-03","신신기계(주)","5/6-553-M-PP03A/B, 5/6-553-M-PP04A/B","ESSENTIAL SERVICE WATER SCREEN WASH PUMP"]
["N202-ER-C01-01","신신기계(주)","5/6-461-M-PP01A/B, 5/6-461-M-PP02A/B, 5/6-633-M-PP01A/B, 5/6-633-M-PP02A/B, 5/6-461-M-PP03A/B, 5/6-633-M-PP03A/B ","COMPONENT COOLING WATER PUMP,  ESSENTIAL CHILLED WATER PUMP, COMPONENT COOLING WATER MAKEUP PUMP, ESSENTIAL CHILLED WATER MAKEUP PUMP"]
["N202-ER-C01-02","신신기계(주)","5/6-461-M-PP01A/B, 5/6-461-M-PP02A/B","COMPONENT COOLING WATER PUMP"]
["N202-ER-C01-03","신신기계(주)","5/6-463-M-PP01A/B, 5/6-463-M-PP02A/B, 5/6-633-M-PP01A/B, 5/6-633-M-PP02A/B, 5/6-461-M-PP03A/B, 5/6-633-M-PP03A/B ","SPENT FUEL POOL A COOLING PUMP, SPENT FUEL POOL B COOLING PUMP, ESSENTIAL CHILLED WATER PUMP, COMPONENT COOLING WATER MAKEUP PUMP, ESSENTIAL CHILLED WATER MAKEUP PUMP"]
["N202-ER-C01-04","신신기계(주)","5/6-463-M-PP01A/B, 5/6-463-M-PP02A/B","SPENT FUEL POOL A COOLING PUMP, SPENT FUEL POOL B COOLING PUM"]
["N203-ER-B01-02","효성굿스프링스(주)","5/6-442-M-PP01A/B","CONTAINMENT SPRAY PUMP"]
["N203-ER-B01-03","효성굿스프링스(주)","5/6-442-M-PP01A/B","CONTAINMENT SPRAY PUMP"]
["N204-ER-C01-01","(주)엘에치이","5/6-461-M-HE01A/B, 5/6-461-M-HE02A/B, 5/6-461-M-HE03A/B, 5/6-463-M-HE01A/B, 5/6-463-M-HE02A/B","COMPONENT COOLING WATER  HEAT EXCHANGER,\nSPENT FUEL POOL A COOLING HEAT EXCHANGER,\nSPENT FUEL POOL B COOLING HEAT EXCHANGER"]
["N229-ER-B01-41","한국원자력기술주식회사(KOREA NUCLEAR TECHNOLOGY CO., LTD","5/6-443-M-HR01A, 5/6-443-M-HR01B,  5/6-443-M-HR02A, 5/6-443-M-HR02B, 5/6-443-M-HR03A, 5/6-443-M-HR03B, 5/6-443-M-HR04A, 5/6-443-M-HR04B,  5/6-443-M-HR09A, 5/6-443-M-HR09B, 5/6-443-M-HR10A","PASSIVE AUTOCATALYTIC RECOMBINER (PAR)"]
["P204-ER-B01-01","PK밸브","Various","Various"]
["P206A-ER-B01-01","SAMSHIN LIMITED","Various","LIMITORQUE MOTOR ACTUATORS"]
["P206A-ER-B01-02","SAMSHIN LIMITED","Various","Electrical Conductor Seal Assembly(ECSA)"]
["P206A-ER-B01-05","SAMSHIN LIMITED","Various","FILTER REGULATOR"]
["P206A-ER-B01-06","SAMSHIN LIMITED","Various","SOLENOID VALVE"]
["P206A-ER-B01-07","SAMSHIN LIMITED","Various","PIGTAIL"]
["P206A-ER-B01-08","SAMSHIN LIMITED","Various","LIMIT SWITCH"]
["P206A-ER-B01-09","SAMSHIN LIMITED","5/6-442-V-0005, 5/6-442-V-0006","POTENTIOMETER"]
["P206A-ER-B02-01","SAMSHIN LIMITED","9-632-V-0012, 9-632-V-0013","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-B02-02","SAMSHIN LIMITED","9-455-V-0005, 9-455-V-0006","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-B02-03","SAMSHIN LIMITED","9-791-V-0031, 9-791-V-0032, 9-791-V-0033, 9-791-V-0034, 9-791-V-0035, 9-791-V-0036, 9-791-V-0257, 9-791-V-0258","PNEUMATIC OPERATED GATE VALVE"]
["P206C-ER-B01-01","SAMSHIN LIMITED","Various","CONTROLLED CLOSURE CHECK VALVE"]
["P206D-ER-C01-01","SAMSHIN LIMITED","5/6-462-V-1001/1002/1003/1004\n5/6-461-V-1001/1002/1003/1004","TILTING DISK CHECK VALVE"]