{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["신고리5,6호기 내진검증현황"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"신고리5,6호기 내진검증현황","index":0,"n_rows":517,"n_cols":4,"rows_kept":517,"cut":false,"hidden":false,"merged":[]}
["기기검증보고서 번호","업체명","기기번호","기기식별"]
["E207-ER-A01-01","선도전기(주)","5/6-823-E-SW01A/SW01B/SW02A/SW02B","Class 1E 4.16 kV Switchgears"]
["E207-ER-C01-01","선도전기(주)","5/6-822-E-SW03N","AAC 4.16 kV Switchgears"]
["E208-ER-A01-01","(주)비츠로테크","5/6-825-E-LC01A, 5/6-825-E-LC01B, 5/6-825-E-LC02A, 5/6-825-E-LC02B, 5/6-824-E-LC17N","480V Load Centers"]
["E209-ER-A01-01","엘에스일렉트릭(주)","Various","Local Starter, Fuse Terminal Box"]
["E209-ER-A01-02","엘에스일렉트릭(주)","5/6-827-E-MC01A~MC09A, 5/6-827-E-MC01B~MC09B","Class 1E 480 V AC MCC"]
["E209-ER-A01-03","엘에스일렉트릭(주)","5/6-443-E-DP01","Non Class 1E Hydrogen Igniter Distribution Panel"]
["E209-ER-A01-04","엘에스일렉트릭(주)","5/6-826-E-MC33N/MC34N/MC35N","AAC 480 V MCCs"]
["E212-ER-A01-01","GLOBAL BATTERY CO.LTD","5/6-841-E-BT01A/BT01B/BT01C/BT01D","Class 1E Batteries"]
["E214-ER-A01-01","국제 전기(주)","5/6-841-E-BC01A/B\n5/6-841-E-BC01C/D","Class 1E Batteries and Regulating TR"]
["E214-ER-A01-03","국제 전기(주)","5/6-842-E-TR01A/B/C/D","Regulating Transformer"]
["E216-ER-A01-01","현대일렉트릭(주)","5/6-841-E-MC01A, 5/6-841-E-MC01B, 5/6-841-E-MC01C, 5/6-841-E-MC01D, 5/6-542-E-SQ01C, 5/6-542-E-SQ01D, 5/6-441-E-SQ02C, 5/6-441-E-SQ02D","DC MCC, Local Starters"]
["E230-ER-A01-01","MIRION TECHNOLOGIES","Various","Electrical Penetration Assemblies"]
["E240-ER-A01-01","MIRION TECHNOLOGIES","Various","Electrical Conductor Sealing Assemblies"]
["J203-ER-A01-01","GEOSIG LTD","-0-752-J-PA38M\n- 0-762-J-VT-0001 ~ 0007","- SeismicMonitoring Cabinet\n- Accelerometer"]
["J209-ER-A01-01","라텍","5/6-623-J-LP02","HVAC Local Control Panel"]
["J210-ER-A01-01","VITZROSYS CO., LTD","5/6-633-J-LP01A, 5/6-431-J-HS-0120A02, 5/6-633-J-LI-0003C02","Control Panel, Local Control Station, Level Indicator"]
["J217C-ER-A01-01","HITROL CO., LTD.","5/6-481-LE/LIT-0050A, 5/6-481-LE/LIT-0051B, 5/6-481-LE/LIT-0052C, 5/6-481-LE/LIT-0053D, 5/6-481-LE/LIT-0079A, 5/6-481-LE/LIT-0080B, 5/6-481-LE/LIT-0085A, 5/6-481-LE/LIT-0086B, 5/6-481-LE/LIT-0091C, 5/6-481-LE/LIT-0092D, 5/6-481-LE/LIT-0097C, 5/6-481-LE/LIT-0098D","Ultrasonic Type Level Transmitter"]
["J224-ER-A01-01","와이즈산전","5/6-461-J-FE-0003, 5/6-461-J-FE-0004, 5/6-461-J-FE-0047, 5/6-461-J-FE-0048, 5/6-461-J-FE-0049, 5/6-461-J-FE-0050, 5/6-461-J-FE-0071, 5/6-461-J-FE-0072, 5/6-463-J-FE-0005, 5/6-463-J-FE-0006, 5/6-463-J-FE-0007, 5/6-463-J-FE-0008, 5/6-633-J-FE-0017, 5/6-633-J-FE-0018, 5/6-633-J-FE-0019, 5/6-633-J-FE-0020","AVERAGING PITOT TUBE"]
["J224-ER-A01-02","와이즈산전","5/6-462-J-FE-0049, 5/6-462-J-FE-0050","Flow Element"]
["J226-ER-A01-01","HITROL CO., LTD.","various","Flow Element & Transmitter,\nLevel Element & Transmitter\n"]
["J227-ER-A01-01","(주)우진","Various","Thermocouple, RTD, Thermowell"]
["J230C-ER-A01-01","두온시스템 주식회사","0-472-J-LT-0069 외 Various","Pressure Transmitter (Model No. APT3700N)"]
["J232B-ER-A01-01","(주)위어인터내셔날","5/6-461-V-0901, 5/6-461-V-0902, 5/6-461-V- 0905, 5/6-461-V-0906, 5/6-521-V-0131, 5/6-521-V-0132, 5/6-527-V-0009, 5/6-527-V-0010","Spring Return Pneumatic Actuator"]
["J232B-ER-A01-02","(주)위어인터내셔날","5/6-521-V-0090, 5/6-521-V-0091, 5/6-521-V- 0092, 5/6-521-V-0093, 5/6-521-V-0133, 5/6-521-V-0134, 5/6-527-V-0007, 5/6-527-V-0008, 5/6-541-V-0138, 5/6-541-V-0139, 5/6-594-V-0001, 5/6-596-V-0020, 5/6-669-V-0004","Spring Return Pneumatic Actuator"]
["J232B-ER-A01-03","(주)위어인터내셔날","5/6-527-V-0007, 5/6-527-V-0008","Air Operated Valve"]
["J232B-ER-A01-04","(주)위어인터내셔날","5/6-527-V-0009, 5/6-527-V-0010","Air Operated Valve"]
["J232B-ER-A01-05","(주)위어인터내셔날","5/6-542-V-1015, 5/6-542-V-1016, 5/6-542-V-1017, 5/6-542-V-1018","Manual Operated Valve"]
["J232B-ER-A01-06","(주)위어인터내셔날","5/6-594-V-0001","Air Operated Valve"]
["J232B-ER-A01-15","(주)위어인터내셔날","5/6-481-V-0006 ","Air Operated Valve"]
["J232B-ER-A01-16","(주)위어인터내셔날","5/6-521-V-0131, 5/6-521-V-0132","Air Operated Valve"]
["J232B-ER-A01-17","(주)위어인터내셔날","5/6-691-V-0030","Air Operated Valve"]
["J232B-ER-A01-18","(주)위어인터내셔날","5/6-596-V-0020","Air Operated Valve"]
["J232B-ER-A01-19","(주)위어인터내셔날","5/6-521-V-0133, 5/6-521-V-0134","Air Operated Valve"]
["J232B-ER-A01-20","(주)위어인터내셔날","5/6-541-V-0138, 5/6-541-V-0139","Air Operated Valve"]
["J232B-ER-A01-21","(주)위어인터내셔날","5/6-669-V-0004","Air Operated Valve"]
["J232B-ER-A01-22","(주)위어인터내셔날","5/6-521-V-0090, 5/6-521-V-0091, 5/6-521-V-0092, 5/6-521-V-0093","Air Operated Valve"]
["J232B-ER-A01-23","(주)위어인터내셔날","5/6-521-V-0101, 5/6-521-V-0102, 5/6-521-V-0103, 5/6-521-V-0104","Electro-Hydraulic Operated Valve"]
["J232B-ER-A01-24","(주)위어인터내셔날","5/6-633-V-0906A, 5/6-633-V-0906B","Air Operated Valve"]
["J232B-ER-A01-25","(주)위어인터내셔날","5/6-461-V-0901, 0902, 0905, 0906, 5/6-481-V-0006, \n5/6-521-V-0090, 0091, 0092, 0093, 0101, 0102, 0103, 0104, 0131, 0132. 0133, 0134, \n5/6-527-V-0007, 0008, 0009, 0010, 5/6-541-V-0138, 0139, 5/6-542-V-1015, 1016, 1017, 1018,\n5/6-594-V-0001, 5/6-596-V-0020, 5/6-633-V-0906A, 0906B, 5/6-669-V-0004, 5/6-691-V-0030","P440 Actuator with Modulation Accessary"]
["J232B-ER-A01-27","(주)위어인터내셔날","5/6-521-V-0131, 5/6-521-V-0132","Air Accumulator (5/6-521-V-0131, 0132의 Accessory)"]
["J232B-ER-A01-28","(주)위어인터내셔날","5/6-521-V-4001, 5/6-521-V-4002, 5/6-521-V-4010, 5/6-521-V-4011","Check Valve (5/6-521-V-0131, 0132 Air Accumulator의 Accessory)"]
["J232B-ER-A01-30","(주)위어인터내셔날","5/6-521-V-5001, 5/6-521-V-5002, 5/6-521-V-5003, 5/6-521-V-5004, 5/6-521-V-5005, 5/6-521-V-5006","Ball Valve (5/6-521-V-0131, 0132 Air Accumulator의 Accessory)"]
["J232B-ER-A01-35","(주)위어인터내셔날","5/6-461-V-0901, 5/6-461-V-0902, 5/6-461-V-0905, 5/6-461-V-0906","Air Operated Valve"]
["J232B-ER-A01-44","(주)위어인터내셔날","5/6-521-V-0101, 0102, 0103, 0104","Electro-Hydraulic Actuator Assembly"]
["J232B-ER-A01-45","(주)위어인터내셔날","5/6-461-V-0901, 5/6-461-V-0902, 5/6-461-V-0905, 5/6-461-V-0906, 5/6-633-V-0906A, 5/6-633-V-0906B","I/P Converter"]
["J232B-ER-A01-46","(주)위어인터내셔날","various","Solenoid Pilot Valve, QDC ECSA"]
["J232B-ER-A01-47","(주)위어인터내셔날","5/6-461-V-0901, 0902, 0905, 0906, 5/6-521-V-0131, 0132, 5/6-527-V-0009, 0010, 5/6-633-V-0906A, 0906B","Positioner and Volume Booster"]
["J232B-ER-A01-48","(주)위어인터내셔날","5/6-481-V-0006, 5/6-521-V-0090, 0091, 0092, 0093, 0101, 0102, 0103, 0104, 0131, 0132. 0133, 0134, \n5/6-527-V-0007, 0008, 0009, 0010, 5/6-541-V-0138, 0139, 5/6-542-V-1015, 1016, 1017, 1018, 5/6-594-V-0001, \n5/6-596-V-0020, 5/6-633-V-0906A, 0906B, 5/6-669-V-0004, 5/6-691-V-0030 ","Limit Switch with ECSA"]
["J232B-ER-A01-50","(주)위어인터내셔날","5/6-521-V-0131, 0132","Pressure Switch"]
["J232B-ER-A01-51","(주)위어인터내셔날","5/6-521-V-0131, 0132","Pressure Indicator"]
["J232B-ER-A01-52","(주)위어인터내셔날","5/6-461-V-0901,0902, 0905, 0906\n5/6-633-V-0906A,0906B","ITT Conoflow Filter Regulator"]
["J232B-ER-A01-53","(주)위어인터내셔날","5/6-481-V-0006, 5/6-521-V-0090, 5/6-521-V-0091, 5/6-521-V-0092, 5/6-521-V-0093, 5/6-521-V-0131, 5/6-521-V-0132, 5/6-521-V-0133, 5/6-521-V-0134, 5/6-527-V-0007, 5/6-527-V-0008, 5/6-527-V-0009, 5/6-527-V-0010, 5/6-541-V-0138, 5/6-541-V-0139, 5/6-594-V-0001, 5/6-596-V-0020, 5/6-669-V-0004, 5/6-691-V-0030","Airfilter Regulator"]
["J233-ER-A01-01","SAMSHIN LIMITED","5/6-461-V-1041, 5/6-461-V-1042, 5/6-461-V-1043, 5/6-461-V-1044, 5/6-461-V-1045, 5/6-461-V-1047, 5/6-632-V-1027A, 5/6-632-V-1027B","Butterfly Valve"]
["J233-ER-A01-02","SAMSHIN LIMITED","5/6-461-V-1261, 1262, 1263, 1264, 1561, 1562, 1563, 1564\n5/6-633-V-1019A, 1019B, 1020A, 1020B, 1023A, 1023B, 1024A, 1024B, 1025A, 1025B, 1028A, 1028B","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-03","SAMSHIN LIMITED","5/6-461-V-1070, 1085, 1127, 1128, 1281, 1282","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-04","SAMSHIN LIMITED","5/6-461-V-1571, 1572","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-05","SAMSHIN LIMITED","5/6-461-V-1141, 1142, 1143, 1144, 1145, 1146, 1147, 1148, 1149, 1150, 1151, 1152, 1211, 1212","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-06","SAMSHIN LIMITED","5/6-462-V-1005, 1006, 1007, 1008, 1009, 1010, 1011, 1012, 1013, 1014, 1015, 1016, 1023, 1024, 1025, 1026, 1027, 1028","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-07","SAMSHIN LIMITED","5/6-461-V-1019, 1020, 1511, 1512","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-08","SAMSHIN LIMITED","5/6-461-V-1007, 1008, 1009, 1010, 1017, 1018, 1121, 1122, 1123, 1124","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-09","SAMSHIN LIMITED","5/6-462-V-1019, 1020, 1021, 1022","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-10","SAMSHIN LIMITED","5/6-461-V-1013, 5/6-461-V-1014","Butterfly Valve(Manual Operated)"]
["J233-ER-A01-11","SAMSHIN LIMITED","5/6-553-V-0035,0036","Motor Operated Butterfly Valve"]
["J233-ER-A01-12","SAMSHIN LIMITED","5/6-461-V-0131, 0132, 0383, 0384","Motor Operated Butterfly Valve"]
["J233-ER-A01-13","SAMSHIN LIMITED","5/6-461-V-0296, 0297, 0301, 0302, 0391, 0392","Motor Operated Butterfly Valve"]
["J233-ER-A01-14","SAMSHIN LIMITED","5/6-461-V-0181, 0182, 0231, 0249, 0250","Motor Operated Butterfly Valve"]
["J233-ER-A01-15","SAMSHIN LIMITED","5/6-461-V-0389, 0390","Motor Operated Butterfly Valve"]
["J233-ER-A01-16","SAMSHIN LIMITED","5/6-461-V-0021, 0022, 0023, 0024, 0025, 0026, 0097, 0098","Motor Operated Butterfly Valve"]
["J233-ER-A01-17","SAMSHIN LIMITED","5/6-461-V-0351, 0352","Motor Operated Butterfly Valve"]
["J233-ER-A01-18","SAMSHIN LIMITED","5/6-461-V-0143, 0144, 0145, 0146, 0147, 0148, 0149, 0150","Motor Operated Butterfly Valve"]
["J233-ER-A01-19","SAMSHIN LIMITED","5/6-462-V-0067\n5/6-462-V-0068","Motor Operated Butterfly Valve"]
["J233-ER-A01-20","SAMSHIN LIMITED","5/6-461-V-0027, 0028","Motor Operated Butterfly Valve"]
["J233-ER-A01-21","SAMSHIN LIMITED","5/6-462-V-0045/46/47/48","Motor Operated Butterfly Valve"]
["J233-ER-A01-22","SAMSHIN LIMITED","5/6-612-V-0012, 0013","Motor Operated Butterfly Valve"]
["J233-ER-A01-23","SAMSHIN LIMITED","5/6-612-V-0011/0014","Motor Operated Butterfly Valve"]
["J233-ER-A02-01","SAMSHIN LIMITED","Various","Motor Operated Actuator"]
["J240-ER-A01-01","HY-LOK CORPORATION","Various","Globe valve"]
["M206-ER-A01-01","현대중공업터보기계 ㈜","5/6-542-M-PP02A/B","M/D AUX. FEEDWATER PUMP"]
["M206-ER-A01-02","현대중공업터보기계 ㈜","5/6-542-M-PP02A/B","MOTOR OF M/D AUX. FEEDWATER PUMP"]
["M206-ER-A01-03","현대중공업터보기계 ㈜","5/6-542-M-PP01A, 5/6-542-M-PP01B","TURBINE DRIVEN AUX. FEEDWATER PUMP"]
["M206-ER-A01-04","현대중공업터보기계 ㈜","5/6-527-V3009, 5/6-527-V3010","TRIP & THROTTLE VALVE, GOVERNING VALVE"]
["M206-ER-A01-05","현대중공업터보기계 ㈜","5/6-527-M-TK83A, 5/6-527-M-TK83B","LUBE OIL UNIT"]
["M206-ER-A01-06","현대중공업터보기계 ㈜","5/6-542-M-HE71A-A/B, 5/6-542-M-HE71B-A/B","LUBE OIL COOLER & PIPINGS OF T/D AUX. FEEDWATER PUMP"]
["M206-ER-A01-07","현대중공업터보기계 ㈜","5/6-542-M-PP72A/B","DC Motor"]
["M206-ER-A01-08","현대중공업터보기계 ㈜","5/6-527-V-3007, 5/6-527-V-3008","Pressure Regulating Valves"]
["M206-ER-A01-09","현대중공업터보기계 ㈜","5/6-542-V-3001/3002, 5/6-542-V-3003/3004","OIL PRESSURE SELF REGULATING VALVE, OIL BACK PRESSUE VALVE"]
["M206-ER-A01-10","현대중공업터보기계 ㈜","5/6-542-M-OR03A/B","Cavitating Venturi"]
["M206-ER-A01-11","현대중공업터보기계 ㈜","5/6-542-M-OR01A/B, 5/6-542-M-OR02A/B","Minimum Recirculation Flow Orifice"]
["M206-ER-A01-12","현대중공업터보기계 ㈜","5/6-527-M-EE71A/B","Steam Ejector for AFWP Turbine"]
["M206-ER-A01-13","현대중공업터보기계 ㈜","5/6-527-M-OR71A, 5/6-527-M-OR71B, 5/6-527-M-OR72A, 5/6-527-M-OR72B, 5/6-527-M-OR73A, 5/6-527-M-OR73B, 5/6-527-M-OR74A, 5/6-527-M-OR74B, 5/6-542-M-OR71A, 5/6-542-M-OR71B, 5/6-542-M-OR72A, 5/6-542-M-OR72B, 5/6-542-M-OR81A, 5/6-542-M-OR81B, 5/6-542-M-OR82A, 5/6-542-M-OR82B, 5/6-542-M-OR83A, 5/6-542-M-OR83B, 5/6-542-M-OR84A\n5/6-542-M-OR84B\n5/6-542-M-OR85A\n5/6-542-M-OR85B","FLOW RESTRICTION ELEMENTS"]
["M206-ER-A01-14","현대중공업터보기계 ㈜","5/6-542-M-PP72A/B","AUX. OIL PUMP"]
["M206-ER-A01-15","현대중공업터보기계 ㈜","Various","MANUAL & CHECK VALVES"]
["M206-ER-A01-16","현대중공업터보기계 ㈜","5/6-527-M-TA01A/B-B3","Sensor Terminal box"]
["M206-ER-A01-17","현대중공업터보기계 ㈜","5/6-527-V-3009/3010","Limitorque Actuator"]
["M206-ER-A01-19","현대중공업터보기계 ㈜","5/6-527-J-PC-3019/3020","Hydraulic Amplifier"]
["M206-ER-A01-20","현대중공업터보기계 ㈜","5/6-527-J-SE-3035C/3036D/3045C/3046D","Speed Sensor"]
["M206-ER-A01-21","현대중공업터보기계 ㈜","5/6-527-J-ZZ-3001C/D,5/6-527-J-ZZ-302C/D","Solenoid Actuator"]
["M206-ER-A01-23","현대중공업터보기계 ㈜","5/6-527-J-LP01C/D","Local Control Panel"]
["M206-ER-A01-24","현대중공업터보기계 ㈜","5/6-542-V-3017A/B, 5/6-542-V-3018A/B","Safety Relief Valve for T/D AFWP,\nSafety Relief Valve for M/D AFWP"]
["M214-ER-A01-01","신신기계(주)","5/6-595-M-PP01A/B, 5/6-595-M-PP02A/B","EDG DIESEL FUEL OIL TRANSFER PUMP"]
["M214-ER-A02-01","신신기계(주)","5/6-595-M-PP01A, 5/6-595-M-PP01B, 5/6-595-M-PP02A, 5/6-595-M-PP02B","Diesel fuel oil transfer pump motor"]
["M227-ER-A01-01","LG전자(주)","5/6-633-M-CH01A/B, 5/6-633-M-CH02A/B","Essential Chiller"]
["M241-ER-A01-01","(주)무진기연","5/6-553-M-TS09A/B","ESW TRAVELING SCREEN (STRUCTURE)"]
["M241-ER-A01-02","(주)무진기연","5/6-553-M-TS09A/B","ESW TRAVELING SCREEN (DRIVE UNIT)"]
["M243-ER-A01-01(VOID)","FLOWSERVE US, INC.","5/6-521-V-0011, 5/6-521-V-0012, 5/6-521-V-0013, 5/6-521-V-0014","MAIN STEAM ISOLATION VALVE"]
["M243-ER-A01-02(VOID)","FLOWSERVE US, INC.","5/6-521-V-0015, 5/6-521-V-0016, 5/6-521-V-0017, 5/6-521-V-0018","MAIN STEAM ISOLATION VALVE BYPASS VALVE"]
["M243-ER-A01-03(VOID)","FLOWSERVE US, INC.","5/6-541-V-0121, 5/6-541-V-0122, 5/6-541-V-0123, 5/6-541-V-0124","MAIN FEEDWATER ISOLATION VALVE (ECONOMIZER)"]
["M243-ER-A01-04(VOID)","FLOWSERVE US, INC.","5/6-541-V-0131, 5/6-541-V-0132, 5/6-541-V-0133, 5/6-541-V-0134","MAIN FEEDWATER ISOLATION VALVE (DOWNCOMER)"]
["M243-ER-A01-05(VOID)","FLOWSERVE US, INC.","5/6-521-V-0011, 5/6-521-V-0012, 5/6-521-V-0013, 5/6-521-V-0014, 5/6-521-V-0015, 5/6-521-V-0016, 5/6-521-V-0017, 5/6-521-V-0018, 5/6-541-V-0121, 5/6-541-V-0122, 5/6-541-V-0123, 5/6-541-V-0124, 5/6-541-V-0131, 5/6-541-V-0132, 5/6-541-V-0133, 5/6-541-V-0134","MAIN STEAM ISOLATION VALVE\nMAIN STEAM ISOLATION VALVE BYPASS VALVE\nMAIN FEEDWATER ISOLATION VALVE (ECONOMIZER)\nMAIN FEEDWATER ISOLATION VALVE (DOWNCOMER)"]
["M246-ER-A01-01","(주)효성씨앤피","5/6-683-M-CX06","Fuel Handling Area Crane"]
["M248-ER-A01-01","(주)효성씨앤피","5/6-683-M-CX01, 0-683-M-CX02, 5/6-683-M-CX03, 5/6-683-M-CX01A","950 US Ton Reactor Containment  Building Polar Crane, 475 U.S. Ton Construction Trolley and Hoist, Precision Load Positioner, Monorail Hoist"]
["M251-ER-A02-01","LG전자(주)","5/6-601-M-HV01A-F, 5/6-601-M-HV01B-F","Fan motor termincal box"]
["M251-ER-A03-01","LG전자(주)","Various"," SAFETY-RELATED CUBICLE COOLER"]
["M251-ER-A03-02","LG전자(주)","5/6-603-M-HV03A, 5/6-603-M-HV03B, 5/6-603-M-HV10A, 5/6-603-M-HV10B, 5/6-603-M-HV12A, 5/6-603-M-HV12B, 5/6-603-M-HV14A, 5/6-603-M-HV14B, 5/6-603-M-HV15A, 5/6-603-M-HV15B, 5/6-603-M-HV18A, 5/6-603-M-HV18B, 5/6-603-M-HV19B, 5/6-606-M-HV19A, 5/6-606-M-HV19B, 5/6-606-M-HV20A, 5/6-606-M-HV20B, 5/6-606-M-HV26B, 5/6-607-M-HV33A, 5/6-607-M-HV33B","CHANNEL-A DC&IP EUIP. RM CUBICLE COOLER, CHANNEL-B DC&IP EUIP. RM CUBICLE COOLER, CLASS 1E MCC 06A RM CUBICLE COOLER, CLASS 1E MCC 06B RM CUBICLE COOLER, CCS CABINET RM CUBICLE COOLER, CLASS 1E MCC 05A RM CUBICLE COOLER, CLASS 1E MCC 05B RM CUBICLE COOLER, CLASS 1E MCC 07A RM CUBICLE COOLER, CLASS 1E MCC 07B RM CUBICLE COOLER, RSP RM CUBICLE COOLER, MECHANICAL PENETRATION RM CUBICLE COOLER, HYDROGEN ANALIZER RM CUBICLE COOLER, MOTOR DRIVEN AUX. FW PUMP ROOM CUBICLECOOLER"]
["M252-ER-A01-01","(주)센추리","5/6-602-M-HC01A, 5/6-602-M-HC01B, 5/6-602-M-HC02A, 5/6-602-M-HC02B, 5/6-602-M-HC03A, 5/6-602-M-HC03B, 5/6-602-M-HC04A, 5/6-602-M-HC04B, 5/6-602-M-HC05A, 5/6-602-M-HC05B, 5/6-602-M-HC06A, 5/6-602-M-HC06B, 5/6-603-M-HC01A, 5/6-603-M-HC01B, 5/6-603-M-HC03A, 5/6-603-M-HC03B, 5/6-603-M-HC04A, 5/6-603-M-HC04B","D/G CONTROL PANEL ROOM ELECTRIC DUCT HEATER, DIESEL FUEL OIL STORAGE TANK VAULT ECLECTIC DUCT HEATER, TANK RM.  ECLECTIC DUCT HEATER, CLASS 1E BATTERY RM  ECLECTIC DUCT HEATER, RSR RM ELECT. DUCT HEATER, I&C EQIP. RM. ELECT. DUCT HEATER"]
["M252-ER-A01-02","(주)센추리","5/6-601-M-AU01A, 5/6-601-M-AU01B, 5/6-604-M-AU02A, 5/6-604-M-AU02B, 5/6-606-M-AU01A, 5/6-606-M-AU01B, 5/6-606-M-AU02A, 5/6-606-M-AU02B","CONTROLLED ROOM EMERGENCY MAKEUP ACU, FUEL HANDLING AREA EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(I) EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(II) EMERGENY EXHAUST ACU,"]
["M252-ER-A01-03","(주)센추리","5/6-601-M-AU01A, 5/6-601-M-AU01B, 5/6-604-M-AU02A, 5/6-604-M-AU02B, 5/6-606-M-AU01A, 5/6-606-M-AU01B, 5/6-606-M-AU02A, 5/6-606-M-AU02B","CONTROLLED ROOM EMERGENCY MAKEUP ACU, FUEL HANDLING AREA EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(I) EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(II) EMERGENY EXHAUST ACU"]
["M252-ER-A01-04","(주)센추리","5/6-601-M-AU01A, 5/6-601-M-AU01B, 5/6-604-M-AU02A, 5/6-604-M-AU02B, 5/6-606-M-AU01A, 5/6-606-M-AU01B, 5/6-606-M-AU02A, 5/6-606-M-AU02B","CONTROLLED ROOM EMERGENCY MAKEUP ACU, FUEL HANDLING AREA EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(I) EMERGENY EXHAUST ACU, AUX. BLDG CONTROLLED AREA(II) EMERGENY EXHAUST ACU"]
["M254-ER-A01-01","Hi-Air Korea Co. LTD","Various","FIRE DAMPER"]
["M254-ER-A02-01","Hi-Air Korea Co. LTD","5/6-601-Y-VC-0013A & Various","Control Damper (PSR BY)"]
["M254-ER-A03-01","Hi-Air Korea Co. LTD","Various","MANUAL DAMPER (BY TYPE)"]
["M254-ER-A03-02","Hi-Air Korea Co. LTD","5/6-605-Y-VG-1003A & Various","Manual Damper (PB)"]
["M254-ER-A03-03","Hi-Air Korea Co. LTD","Various","Manual Damper(CK Type)"]
["M254-ER-A03-04","Hi-Air Korea Co. LTD","Various","MANUAL DAMPER (OB TYPE)"]
["M254-ER-A03-05","Hi-Air Korea Co. LTD","5/6-606-Y-VK-1201A, 5/6-606-Y-VK-1201B, 5/6-606-Y-VK-1202A, 5/6-606-Y-VK-1202B, 5/6-606-Y-VK-1203A\n5/6-606-Y-VK-1203B, 5/6-606-Y-VK-1204A, 5/6-606-Y-VK-1204B","Manual Damper(OB Type)"]
["M254-ER-A04-01","Hi-Air Korea Co. LTD","5/6-601-Y-VC-1520A & Various","Smoke Damper"]
["M254-ER-A05-01","Hi-Air Korea Co. LTD","5/6A5028 & Various","GRD (5D)"]
["M254-ER-A06-01","Hi-Air Korea Co. LTD","5/6-M-SL01A&B, 5/6-M-SL02A&B","Silencer"]
["M254-ER-A07-01","Hi-Air Korea Co. LTD","5/6-447-M-SP01A & Various","Swing Panel"]
["M255B-ER-A01-01","(주)태일송풍기","5/6-602-M-AH01A&AH01B & Various","Fans"]
["M255B-ER-A01-02","(주)태일송풍기","5/6-602-M-AH07A&B\n5/6-602-M-AH13A&B","Fans"]
["M258-ER-A01-01","효성굿스프링스(주)","5/6-691-M-PP05, 5/6-691-M-PP06","SEISMIC CAT.I FIRE PUMP"]
["M258-ER-A01-02","효성굿스프링스(주)","5/6-691-J-LP05, 5/6-691-J-LP06","Controller for Seismic Cat. I Fire Pump"]
["M258-ER-A01-03","효성굿스프링스(주)","5/6-691-M-PP05, 5/6-691-M-PP06","SEISMIC CAT.I FIRE PUMP MOTOR"]
["M258-ER-A01-04","효성굿스프링스(주)","5/6-691-M-PI3501, 5/6-691-M-PI3601, 5/6-691-M-PI3502, 5/6-691-M-PI3602, 5/6-691-M-V3005, 5/6-691-M-V3006","Instrument and Safety Relief Valve for Seismic Category I Fire Pump"]
["M258-ER-A01-05","효성굿스프링스(주)","5/6-691-J-FE3065, 5/6-691-J-FI3065","FLOW ELEMNT, FLOW INDICATOR"]
["M262-ER-A01-01","HSD엔진","5/6-593-M-DG01","FLOW ELEMNT, FLOW INDICATOR"]
["M262-ER-A01-02","HSD엔진","5/6-593-E-DP01","Excitation cubicle"]
["M262-ER-A01-03","HSD엔진","Various","Electrical Cubicles"]
["M262-ER-A01-81","HSD엔진","5/6-593-J-PT-3003/3035/3047","Pressure Transmitter"]
["M262-ER-A01-82","HSD엔진","5/6-593-J-LI-3011","Level Indicator & Switches"]
["M262-ER-A01-84","HSD엔진","Various","Class 1500 AND 2500 Instrument Valves"]
["M262-ER-A02-01","HSD엔진","5/6-593-M-DG01","AAC Diesel Engine"]
["M262-ER-A02-03","HSD엔진","5/6-593-M-DG01","Alternate AC Diesel engine"]
["M262-ER-A02-04","HSD엔진","5/6-593-M-DG01","Alternate AC Diesel engine-generator skid"]
["M262-ER-A02-06","HSD엔진","5/6-593-M-DG01","Mounted equipment on the Alternate AC Diesel engine"]
["M262-ER-A03-01","HSD엔진","5/6-593-M-PP01","PRE-HEATING HT WATER PUMP"]
["M262-ER-A03-02","HSD엔진","5/6-593-M-PP22","Motor Driven Fuel Oil Feed Pump"]
["M262-ER-A03-03","HSD엔진","5/6-593-M-PP33","PRE-LUE OIL PUMP"]
["M262-ER-A03-04","HSD엔진","5/6-593-M-PP08,09","Oil Transfer PUMP"]
["M262-ER-A03-11","HSD엔진","5/6-593-M-PP01,22,33","Pump Motor"]
["M262-ER-A04-01","HSD엔진","5/6-593-M-HE01,30","HEAT EXCHANGERS"]
["M262-ER-A08-01","HSD엔진","5/6-593-M-SL01,03","Gas Slincer"]
["M262-ER-A09-01","HSD엔진","5/6-593-M-TK14","Fuel Oil Tank"]
["M262-ER-A12-01","HSD엔진","5/6-593-V4222","Piston Check Valve"]
["M262-ER-A12-02","HSD엔진","5/6-593-V4213,V4242","Swing Check Valve"]
["M262-ER-A12-03","HSD엔진","5/6-593-V4109","Piston Check Valve"]
["M262-ER-A12-04","HSD엔진","5/6-593-V4319,V4321","Piston Check Valve"]
["M262-ER-A12-05","HSD엔진","5/6-593-V4111","Swing Check Valve"]
["M262-ER-A12-06","HSD엔진","5/6-593-V4034/4038/4043","Class 600, 1/2\" Piston Check Valve"]
["M262-ER-A12-07","HSD엔진","5/6-593-V4022/4030/4031","Class 600, 3/4\" Piston Check Valve"]
["M262-ER-A12-08","HSD엔진","5/6-593-V4048/4049/ 4219/4223/4224/3012","Class 150&300&600, 2\"  Gate Valve"]
["M262-ER-A12-09","HSD엔진","5/6-593-V3211/3212/ 3241/3243/5310/5311","Class 300, 1\"  Gate Valve"]
["M262-ER-A12-10","HSD엔진","5/6-593-V4023/4025/ 4032/4071/4072/4317/ 4320/4323","Class 300, 1/2\"  Gate Valve"]
["M262-ER-A12-11","HSD엔진","5/6-593-V3011/4011/4012","Class 300, 2-1/2\"  Gate Valve"]
["M262-ER-A12-12","HSD엔진","5/6-593-V4110/4112/4115","Class 300, 3\"  Gate Valve"]
["M262-ER-A12-13","HSD엔진","5/6-593-V4033/4036","Class 600, 1/2\"  Gate Valve"]
["M262-ER-A12-14","HSD엔진","Various","Class 150&300&600, 3/4\"  Glove Valve"]
["M262-ER-A12-15","HSD엔진","5/6-593-V5309","Class 300, 2\"  Glove Valve"]
["M262-ER-A12-16","HSD엔진","5/6-593-M-OR07","Orifice"]
["M262-ER-A12-17","HSD엔진","5/6-593-M-OR03/04/10/21","Class 150, 3/4\"  Orifice"]
["M262-ER-A12-18","HSD엔진","5/6-593-M-OR05/12/19","Class 150, 6\"  Orifice"]
["M262-ER-A12-19","HSD엔진","5/6-593-M-OR11/15/18","Class 150, 8\"  Orifice"]
["M262-ER-A12-20","HSD엔진","5/6-593-M-OR20/30","Class 300, 1\"  Orifice"]
["M262-ER-A12-21","HSD엔진","5/6-593-M-OR31","Class 300, 6\"  Orifice"]
["M262-ER-A12-22","HSD엔진","5/6-593-M-ST04/05","Class 300, 1/2\"  Strainer"]
["M262-ER-A12-23","HSD엔진","5/6-593-M-ST06","Class 300, 3\"  Strainer"]
["M262-ER-A26-01","HSD엔진","5/6-593-M-RA01A/B\n5/6-593-M-RA02","HT/LT Water Radiator "]
["M263-ER-A02-01","현대중공업","5/6-591-M-DG01A/B","CLASS 1E DIESEL GENERATOR including ENGINE"]
["M263-ER-A02-14","현대중공업","Various","3-WAY VALVES"]
["M263-ER-A02-16","현대중공업","5/6-591-M-ZM03A, 5/6-591-M-ZM03B","Overspeed Air Rack"]
["M263-ER-A02-17","현대중공업","5/6-591-M-FT22A, 5/6-591-M-FT22B","FUEL OIL FILTER"]
["M263-ER-A02-18","현대중공업","5/6-591-M-FT32A, 5/6-591-M-FT32B, 5/6-591-M-FT33A, 5/6-591-M-FT33B","LUBE OIL FILTER"]
["M263-ER-A02-21","현대중공업","5/6-591-J-IR01A/B, 5/6-591-J-IR02A/B, 5/6-591-J-IR03A/B","Instrument Board"]
["M263-ER-A02-22","현대중공업","5/6-591-J-LP02A/B","Engine Panel"]
["M263-ER-A02-23","현대중공업","Various","Various"]
["M263-ER-A03-01","현대중공업","5/6-595-M-TK02A, 5/6-595-M-TK02B","DIESEL FUEL OIL DAY TANK"]
["M263-ER-A03-03","현대중공업","5/6-591-M-TK01A, 5/6-591-M-TK01B","HT WATER EXPANSION TANK"]
["M263-ER-A03-04","현대중공업","5/6-591-M-TK10A, 5/6-591-M-TK10B","LT WATER EXPANSION TANK"]
["M263-ER-A03-06","현대중공업","5/6-591-M-TK40A, 5/6-591-M-TK40B, 5/6-591-M-TK41A, 5/6-591-M-TK41B","STARTING AIR RECVEIVER"]
["M263-ER-A03-07","현대중공업","5/6-591-M-TK42A, 5/6-591-M-TK42B","OVER SPEED AIR RECEIVER"]
["M263-ER-A03-11","현대중공업","5/6-591-M-PP22A, 5/6-591-M-PP22B","FUEL OIL FEED PUMP"]
["M263-ER-A03-12","현대중공업","5/6-591-M-PP22A, 5/6-591-M-PP22B, 5/6-591-M-PP33A, 5/6-591-M-PP33B, 5/6-591-M-PP01A, \n5/6-591-M-PP01B","PP22 : Fuel oil feed pump motor\nPP01 : Pre-heating HT water pump motor\nPP33 : Pre-Lube oil pump motor"]
["M263-ER-A03-14","현대중공업","5/6-591-M-PP33A, 5/6-591-M-PP33B","PRE-LUE OIL PUMP"]
["M263-ER-A03-17","현대중공업","5/6-591-M-PP01A, 5/6-591-M-PP01B","PRE-HEATING HT WATER PUMP"]
["M263-ER-A03-31","현대중공업","5/6-591-M-HE01A, 5/6-591-M-HE01B, 5/6-591-M-HE02A, 5/6-591-M-HE02B, 5/6-591-M-HE03A, 5/6-591-M-HE03B, 5/6-591-M-HE30A, 5/6-591-M-HE30B, 5/6-591-M-HE44A, 5/6-591-M-HE44B, ","HEAT EXCHANGERS"]
["M263-ER-A03-41","현대중공업","5/6-591-M-FT50A, 5/6-591-M-FT50B, 5/6-591-M-SL01A, 5/6-591-M-SL01B","AIR INTAKE FILTER-SILENCER UNIT"]
["M263-ER-A03-43","현대중공업","5/6-591-M-SL03A, 5/6-591-M-SL03B","EXHAUST SILENCER"]
["M263-ER-A03-61","현대중공업","5/6-591-V4035A, 5/6-591-V4035B","Pressure regulating valves"]
["M263-ER-A03-62","현대중공업","5/6-591-V-5023A/B, 5/6-591-V-5031A/B, 5/6-591-V-5322A/B","Safety relief valve for air reciever tanks and Overspeed aire receiver tanks"]
["M263-ER-A03-63","현대중공업","5/6-591-M-ST01A, 5/6-591-M-ST01B, 5/6-591-M-ST02A, 5/6-591-M-ST02B","Strainers "]
["M263-ER-A03-72","현대중공업","Various","Manual valves"]
["M263-ER-A03-74","현대중공업","5/6-591-V-3098A, 5/6-591-V-3098B, 5/6-591-V-3099A, 5/6-591-V-3099B","SOLENOID VALVE for AIR RECEIVER"]
["M263-ER-A03-75","현대중공업","5/6-591-M-OR01A, 5/6-591-M-OR01B, 5/6-591-M-OR08A, 5/6-591-M-OR08B, 5/6-591-M-OR20A, 5/6-591-M-OR20B","ORIFICES"]
["M263-ER-A04-01","현대중공업","5/6-591-M-DG01A, 5/6-591-M-DG01B","Emergency diesel generator"]
["M263-ER-A04-02","현대중공업","5/6-591-M-DG01A/B","Emergency diesel generator"]
["M263-ER-A05-01","현대중공업","5/6-591-E-DP02A/B,\n5/6-591-E-DP03A/B,\n5/6-591-E-DP04A/B","Phase cubicle\nNeutral cubicle\nNeutral grounding cubicle"]
["M263-ER-A06-01","현대중공업","5/6-591-J-LP01A/B","Local Control Panel"]
["M263-ER-A07-01","현대중공업","5/6-591-J-LI-3001A/B, 5/6-591-J-LI-3010A/B, 5/6-595-J-LI-3025A/3026B, 5/6-591-J-LS-3001A01/A02/B01/B02, 5/6-591-J-LS-3010A01/A02/B01/B02, 5/6-595-J-LS-3025A01/A02/A03/A04, 5/6-595-J-3026B01/B02/B03/B04","Level Indicator & Switches"]
["M263-ER-A07-02","현대중공업","5/6-591-J-ZM01A/B, 5/6-591-J-ZM02A/B, 5/6-591-J-ZM06A/B","Starting air frame"]
["M273-ER-A01-01","서진 인스텍(주)","Various","Orifices and Ventury"]
["M273-ER-A01-02","서진 인스텍(주)","5/6-442-M-OR01A, 5/6-442-M-OR01B, 5/6-442-M-OR02A, 5/6-442-M-OR02B, 5/6-442-M-OR03A, 5/6-442-M-OR03B, 5/6-442-M-OR04A, 5/6-442-M-OR04B, 5/6-442-M-OR05A, 5/6-442-M-OR05B, 5/6-442-M-OR06A, 5/6-442-M-OR06B, \n5/6-442-M-OR08A, 5/6-442-M-OR08B, 5/6-442-M-FE0338, 5/6-442-M-FE0348, 5/6-542-M-FE0035, 5/6-542-M-FE0036\n5/6-542-M-FE0037, 5/6-542-M-FE0038","FLOW RESTRICTION ELEMENT AND  FLOW MEASURING ORIFICE"]
["M273-ER-A01-03","서진 인스텍(주)","5/6-691-M-OR01, 5/6-691-M-OR02 ","ORIFICE"]
["M290-ER-A01-01","시공업체(삼성물산,두산중,한화건설)","5/6-691-M-TK03, 5/6-691-M-TK04","SEISMIC CATEGORY I FIRE WATER TANK"]
["M290-ER-A10-01","시공업체(삼성물산,두산중,한화건설)","5/6-451-M-TK02","Boric Acid Storage Tank"]
["9-700-700-Z-N-465-911","두산중 MMIS","VARIOUS","ESF-CCS Loop Controller Cabinet 외함"]
["9-700-700-Z-N-465-914","두산중 MMIS","9-752-J-PA14A/PA14B/PA14C/PA14D, PA03A/03B/03C/03D, 9-752-J-PA17N","PPS, ESF-CCS( 그룹제어기), QIAS-N cabinet 외함 "]
["9-729-960-Z-N-466-911","두산중 MMIS","9-752-J-PA17N","QIAS-N "]
["9-745-940-Z-N-466-911","두산중 MMIS","VARIOUS","ESF-CCS Loop Controller Cabinet "]
["9-746-930-Z-N-466-911","두산중 MMIS","Various","Process Component Control System"]
["9-751-700-Z-N-465-910","두산중 MMIS","9-751-J-PM01~05","MCR Operator Console 외함"]
["9-751-700-Z-N-465-915","두산중 MMIS","9-751-J-PM06","Safety Console 외함"]
["9-751-921-Z-N-466-912","두산중 MMIS","9-751-J-PM01~05","MCR Operator Console "]
["9-751-921-Z-N-466-915","두산중 MMIS","9-751-J-PM06","Safety Console "]
["N201-ER-A01-01","신신기계(주)","5/6-462-M-PP01A/B, 5/6-462-M-PP02A/B","ESSENTIAL SERVICE WATER PUMP"]
["N201-ER-A01-02","신신기계(주)","5/6-553-M-PP03A/B, 5/6-553-M-PP04A/B","ESSENTIAL SERVICE WATER SCREEN WASH PUMP"]
["N201-ER-A01-03","신신기계(주)","5/6-462-M-PP01A/B, 5/6-462-M-PP02A/B","ESSENTIAL SERVICE WATER PUMP MOTOR"]
["N201-ER-A01-04","신신기계(주)","5/6-553-M-PP03A/B, 5/6-553-M-PP04A/B","ESW SCREEN WASH PUMP"]
["N202-ER-A01-01","신신기계(주)","5/6-461-M-PP01A/B, 5/6-461-M-PP02A/B","COMPONENT COOLING WATER PUMP"]
["N202-ER-A01-02","신신기계(주)","5/6-463-M-PP01A/B","SPENT FUEL POL COOLING PUMP"]
["N202-ER-A01-03","신신기계(주)","5/6-463-M-PP02A/B","SPENT FUEL POL COOLING PUMP"]
["N202-ER-A01-04","신신기계(주)","5/6-633-M-PP01A/B, 5/6-633-M-PP02A/B","ESSENTIAL CHILLED WATER PUMP"]
["N202-ER-A01-05","신신기계(주)","5/6-461-M-PP03A/B ","COMPONENT COOLING WATER MAKEUP PUMP"]
["N202-ER-A01-06","신신기계(주)","5/6-633-M-PP03A/B ","ESSENTIAL CHILLED WATER MAKEUP PUMP"]
["N202-ER-A02-01","신신기계(주)","5/6-461-M-PP01A/B, 5/6-461-M-PP02A/B","COMPONENT COOLING WATER PUMP"]
["N202-ER-A02-02","신신기계(주)","5/6-463-M-PP01A/B, 5/6-463-M-PP02A/B, 5/6-633-M-PP01A/B, 5/6-633-M-PP02A/B, 5/6-461-M-PP03A/B, 5/6-633-M-PP03A/B ","SPENT FUEL POOL A COOLING PUMP, SPENT FUEL POOL B COOLING PUMP, ESSENTIAL CHILLED WATER PUMP, COMPONENT COOLING WATER MAKEUP PUMP, ESSENTIAL CHILLED WATER MAKEUP PUMP"]
["N203-ER-A01-01","효성굿스프링스(주)","5/6-442-M-PP01A/B","CONTAINMENT SPRAY PUMP"]
["N203-ER-A01-02","효성굿스프링스(주)","5/6-442-M-PP01A/B","CONTAINMENT SPRAY PUMP"]
["N204-ER-A01-01","(주)엘에치이","5/6-442-M-HE01A/B","CONTAINMENT SPRAY HEAT EXCHANGER"]
["N204-ER-A02-01","(주)엘에치이","5/6-442-M-HE02A/B","CONTAINMENT SPRAY MINIFLOW HEAT EXCHANGER"]
["N204-ER-A03-01","(주)엘에치이","5/6-461-M-HE01A/B, 5/6-461-M-HE02A/B, 5/6-461-M-HE03A/B","COMPONENT COOLING WATER  HEAT EXCHANGER"]
["N204-ER-A04-01","(주)엘에치이","5/6-463-M-HE01A/B","SPENT FUEL POOL A COOLING HEAT EXCHANGER"]
["N204-ER-A05-01","(주)엘에치이","5/6-463-M-HE02A/B","SPENT FUEL POOL B COOLING HEAT EXCHANGER"]
["N205-ER-A01-01","(주)무진기연","5/6-461-M-TK01A/B","COMPONENT COOLING WATER SURGE TANK"]
["N205-ER-A01-02","(주)무진기연","5/6-595-M-TK01A/B","DIESEL FUEL OIL STORAGE TANK"]
["N205-ER-A01-03","(주)무진기연","5/6-633-M-TK01A/B","Essential Chilled Water Compression Tank"]
["N205-ER-A01-04","(주)무진기연","5/6-633-M-TK02A/B","Essential Chilled Water Air Separator"]
["N206-ER-A01-01","(주)티에스엠텍","5/6-447-M-ST01A/B/C/D","IRWST SUMP STRAINERS"]
["N210-ER-A01-01","(주)무진기연","5/6-593-M-TK13","AAC DIESEL FUEL OIL STORAGE TANK"]
["N222-ER-A01-01","청우 하이드로(주)","5/6-451-M-SD01","SUCTION STABILIZER"]
["N222-ER-A01-02","청우 하이드로(주)","5/6-451-M-PD01","PULSATION DAMPENER"]
["N223-ER-A01-01","정우산기(주)","5/6-462-M-FT01A/B, 5/6-462-M-FT02A/B, 5/6-462-M-FT03A/B","ESSENTIAL SERVICE WATER DEBRIS FILTER"]
["N223-ER-A01-02","정우산기(주)","N/A","N/A"]
["N223-ER-A01-03","정우산기(주)","N/A","N/A"]
["N223-ER-A01-04","정우산기(주)","N/A","N/A"]
["N223-ER-A01-05","정우산기(주)","5/6-462-V-3101/3103","ESSENTIAL SERVICE WATER DEBRIS FILTER DRAIN COMMON HEADER ISOLATION VALVE (MOV)"]
["N223-ER-A01-06","정우산기(주)","5/6-462-V-3102/3104/3105/3106","ESSENTIAL SERVICE WATER DEBRIS FILTER DRAIN COMMON HEADER ISOLATION VALVE (MANUAL)"]
["N223-ER-A01-07","정우산기(주)","5/6-462-V-3010/3011/3012/3013/3014/3015","ESSENTIAL SERVICE WATER DEBRIS FILTER DISCHARGE ISOLATION VALVE (MANUAL)"]
["N223-ER-A01-08","정우산기(주)","5/6-462-V3024 /3025 /3026 /3027 /3028 /3029 /3030 /3031 /3032 /3033 /3034 /3035","ESSENTIAL SERVICE WATER DEBRIS FILTER PDIT ROOT VALVE (MANUAL)"]
["N228-ER-A01-41","한국원자력기술주식회사(KOREA NUCLEAR TECHNOLOGY CO., LTD","5/6-443-M-HI01/02/03/04/05/06/07/08/09/10","HYDROGEN IGNITERS"]
["N229-ER-A01-41","한국원자력기술주식회사(KOREA NUCLEAR TECHNOLOGY CO., LTD","5/6-443-M-HR01A/B ~ 15A/B","PASSIVE AUTOCATALYTIC RECOMBINER (PAR)"]
["N231-ER-A01-01","(주)티에스엠텍","5/6-431-M-SZ01~SZ12, 5/6-433-M-SZ01","POSRV SPARGER, RCGVS SPARGER"]
["P204-ER-A01-01","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-02","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-03","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-04","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-05","PK밸브","Various","Various"]
["P204-ER-A01-06","PK밸브","Various","GATE VALVE"]
["P204-ER-A01-07","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-08","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-09","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-10","PK밸브","5/6-463-V-1144, 5/6-463-V-1217, 5/6-463-V-1507, 5/6-463-V-1508, 5/6-463-V-1509, 5/6-463-V-1510, 5/6-463-V-1511, \n5/6-463-V-1512, 5/6-463-V-1650, ","SFP A CLEANUP DMZR OUTLET HDR PENE ISO V/V, IRWST RTN LN ISO V/V, IRWST RTN LN ISO V/V,\nSFP B CLG P/P 02A DISCH V/V, SFP B CLG P/P 02B DISCH V/V, SFP B CLG HX 02A INLET V/V, \nSFP B CLG HX 02B INLET V/V, SFP B CLG HX 02A OUTLET V/V, SFP B CLG HX 02B OUTLET V/V,\nSFP B CLG P/P A/B DISCH CROSS-TIE V/V, "]
["P204-ER-A01-11","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-12","PK밸브","5/6-463-V-1501, 5/6-463-V-1503, 5/6-463-V-1504","SFP B CLG P/P 02A/02B SUCT CROSS-TIE V/V, SFP B CLG P/P 02A SUCT V/V, SFP B CLG P/P 02B SUCT V/V,"]
["P204-ER-A01-13","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-14","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-15","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-16","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-17","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-18","PK밸브","Various","GATE VALVE"]
["P204-ER-A01-19","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-25","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-26","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-27","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-28","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-31","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-32","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-33","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-34","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-35","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-36","PK밸브","Various","Various"]
["P204-ER-A01-37","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A01-38","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A02-01","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A02-02","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A02-03","PK밸브","6-633-V-1069A, 6-633-V-1069B","GLOBE VALVE"]
["P204-ER-A02-04","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A02-05","PK밸브","5-633-V-1069A, 5-633-V-1069B, 5/6-633-V-1101A, 5/6-633-V-1101B, 5/6-633-V-1102A, 5/6-633-V-1102B, ","GLOBE VALVE"]
["P204-ER-A02-06","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A02-07","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A02-10","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A03-01","PK밸브","5/6-596-V-1601","CHECK VALVE"]
["P204-ER-A03-02","PK밸브","5/6-553-V-1301A, 5/6-553-V-1301B, 5/6-553-V-1401A, 5/6-553-V-1401B, ","CHECK VALVE"]
["P204-ER-A03-03","PK밸브","5/6-594-V-1401","CHECK VALVE"]
["P204-ER-A03-04","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A03-05","PK밸브","5/6-455-V-1115, 5/6-455-V-1116, 5/6-461-V-1303, 5/6-461-V-1304, 5/6-461-V-1309, 5/6-461-V-1310","WET LAY UP RECIR PP B DISCH CHK VV\nCHECK VALVE\nCCW M/U PP03B DISCH CHK VV"]
["P204-ER-A03-06","PK밸브","5/6-535-V-1023, 5/6-691-V-1440","CHECK VALVE"]
["P204-ER-A03-07","PK밸브","5/6-543-V-2678, 5/6-543-V-2680","CHECK VALVE"]
["P204-ER-A03-08","PK밸브","5/6-633-V-1010A, 5/6-633-V-1010B, 5/6-633-V-1014A, 5/6-633-V-1014B","CHECK VALVE"]
["P204-ER-A03-09","PK밸브","5/6-461-V-1099","CCW QUADRANT A TO RCP COMMON LN CHK VV"]
["P204-ER-A03-10","PK밸브","5/6-463-V-1145\n5/6-463-V-1505\n5/6-463-V-1506","SFP A CLEANUP DMZR OUTLET HDR PENE CHK V/V\nSFP B CLG P/P 02A DISCH CHK V/V\nSFP B CLG P/P 02B DISCH CHK V/V"]
["P204-ER-A03-11","PK밸브","5/6-632-V-1043","CHECK VALVE"]
["P204-ER-A03-12","PK밸브","5/6-463-V-1005, 5/6-463-V-1006","SFP A CLG P/P DISCH CHK V/V"]
["P204-ER-A03-14","PK밸브","Various","Various"]
["P204-ER-A03-15","PK밸브","5/6-442-V-1014","ECSBS NOZZLES LN CHK VV"]
["P204-ER-A03-16","PK밸브","5/6-442-V-1007, 5/6-442-V-1008","CS HX 01A OUTLET CHK VV\nCS HX 01B OUTLET CHK VV"]
["P204-ER-A03-19","PK밸브","Various","SAFETY-RELATED MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2\" & LARGER"]
["P204-ER-A03-21","PK밸브","5/6-527-V-1020A, 5/6-527-V-1022A","CHECK VALVE"]
["P204-ER-A03-22","PK밸브","5/6-527-V-1020B, 5/6-527-V-1022B","CHECK VALVE"]
["P204-ER-A03-23","PK밸브","Various","Various"]
["P204-ER-A03-24","PK밸브","5/6-542-V-1003A, 5/6-542-V-1003B, 5/6-542-V-1004A, 5/6-542-V-1004B, 5/6-542-V-1007A, 5/6-542-V-1007B, 5/6-542-V-1008A, 5/6-542-V-1008B, 5/6-542-V-1012A, 5/6-542-V-1012B, 5/6-542-V-1014A, 5/6-542-V-1014B, 5/6-542-V-2098A, \n5/6-542-V-2098B, ","AUXILIARY FEEDWATER PUMP 02A/B DISCH ISO CHECK VALVE\nAUXILIARY FEEDWATER PUMP 01A/B DISCH ISO CHECK VALVE\nAUXILIARY FEEDWATER PUMP 02A/B RECIRCULATION CHECK VALVE\nAUXILIARY FEEDWATER PUMP 01A/B RECIRCULATION CHECK VALVE\nCHECK VALVE"]
["P206A-ER-A01-01","SAMSHIN LIMITED","5/6-443-V-0003, 5/6-491-V-0042, 5/6-491-V-0043, 5/6-761-V-0432, 5/6-761-V-0434, 5/6-447-V-0005, 5/6-447-V-0006, 5/6-461-V-0011, 5/6-461-V-0012, 5/6-442-V-0007, 5/6-442-V-0008, 5/6-542-V-0043, 5/6-542-V-0044, 5/6-542-V-0045, 5/6-542-V-0046, 5/6-442-V-0001, 5/6-442-V-0002, 5/6-442-V-0003, 5/6-442-V-0004, 5/6-442-V-0005, 5/6-442-V-0006","LIMITORQUE MOTOR ACTUATORS"]
["P206A-ER-A01-02","SAMSHIN LIMITED","Various","Electrical Conductor Seal Assembly(ECSA)"]
["P206A-ER-A01-03","SAMSHIN LIMITED","9-632-V-0012, 9-632-V-0013, 9-455-V-0005, 9-455-V-0006, 9-791-V-0031, 9-791-V-0032, 9-791-V-0033, 9-791-V-0034,\n9-791-V-0035, 9-791-V-0036, 9-791-V-0257, 9-791-V-0258","FILTER REGULATOR"]
["P206A-ER-A01-04","SAMSHIN LIMITED","9-632-V-0012, 9-632-V-0013","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-A01-05","SAMSHIN LIMITED","9-455-V-0005, 9-455-V-0006","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-A01-06","SAMSHIN LIMITED","9-791-V-0031, 9-791-V-0032, 9-791-V-0033, 9-791-V-0034, 9-791-V-0035, 9-791-V-0036, 9-791-V-0257, 9-791-V-0258","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-A01-07","SAMSHIN LIMITED","5/6-442-V-0005, 5/6-442-V-0006","POTENTIOMETER"]
["P206A-ER-A01-08","SAMSHIN LIMITED","Various","LIMIT SWITCH"]
["P206A-ER-A01-09","SAMSHIN LIMITED","9-632-V-0012, 9-632-V-0013, 9-455-V-0005, 9-455-V-0006, 9-791-V-0031, 9-791-V-0032, 9-791-V-0033, 9-791-V-0034\n9-791-V-0035, 9-791-V-0036, 9-791-V-0257, 9-791-V-0258","SOLENOID VALVE"]
["P206A-ER-A01-10","SAMSHIN LIMITED","9-632-V-0012, 9-632-V-0013, 9-791-V-0031, 9-791-V-0032, 9-791-V-0033, 9-791-V-0034, 9-791-V-0035, 9-791-V-0036\n9-791-V-0257, 9-791-V-0258","PIGTAIL"]
["P206A-ER-A02-01","SAMSHIN LIMITED","Various","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-A02-02","SAMSHIN LIMITED","Various","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-A02-03","SAMSHIN LIMITED","Various","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-A02-04","SAMSHIN LIMITED","Various","PNEUMATIC OPERATED GATE VALVE"]
["P206A-ER-A02-05","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-06","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-07","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-08","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-09","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-10","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-11","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-12","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-13","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-14","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-15","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-16","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-17","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-18","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-19","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-20","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-21","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-22","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-23","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-24","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-25","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206A-ER-A02-26","SAMSHIN LIMITED","Various","MOTOR OPERATED GATE VALVE"]
["P206C-ER-A01-01","SAMSHIN LIMITED","Various","CONTROLLED CLOSURE CHECK VALVE"]
["P206C-ER-A01-02","SAMSHIN LIMITED","Various","CONTROLLED CLOSURE CHECK VALVE"]
["P206C-ER-A01-03","SAMSHIN LIMITED","Various","CONTROLLED CLOSURE CHECK VALVE"]
["P206C-ER-A01-04","SAMSHIN LIMITED","Various","CONTROLLED CLOSURE CHECK VALVE"]
["P206D-ER-A01-01","SAMSHIN LIMITED","Various","TILTING DISK CHECK VALVE"]
["P206D-ER-A01-02","SAMSHIN LIMITED","Various","TILTING DISK CHECK VALVE"]
["P207-ER-A01-01","(주)일신밸브","5/6-491-V-1013/1019/1022 /1023/1024\n5/6-791-V-2059","1/2\" Class 600, Gate Valve"]
["P207-ER-A01-02","(주)일신밸브","5/6-451-V-0894/0895/0896 5/6-582-V-1701\n5-571-V-2078","3/4\" Class 600, Gate Valve"]
["P207-ER-A01-03","(주)일신밸브","Various","1\" Class 600, Gate Valve"]
["P207-ER-A01-04","(주)일신밸브","Various","1-1/2\" Class 600, Gate Valve"]
["P207-ER-A01-05","(주)일신밸브","5/6-606-V-1005/1006/1007/1008","1-1/2\" Class 600, Gate Valve with mounting position switch"]
["P207-ER-A01-06","(주)일신밸브","Various","2\" Class 600, Gate Valve "]
["P207-ER-A01-08","(주)일신밸브","Various","3/4\" Class 600, Globe Valve "]
["P207-ER-A01-09","(주)일신밸브","0-473-V-1058","1\" Class 600, Globe Valve "]
["P207-ER-A01-10","(주)일신밸브","0-473-V-1044\n5/6-451-V-0377","2\" Class 600, Globe Valve "]
["P207-ER-A01-11","(주)일신밸브","Various","1/2\" Class 600, Y-Globe Valve "]
["P207-ER-A01-12","(주)일신밸브","Various","3/4\" Class 600, Y-Globe Valve "]
["P207-ER-A01-13","(주)일신밸브","Various","1\" Class 600, Y-Globe Valve "]
["P207-ER-A01-14","(주)일신밸브","Various","1-1/2\" Class 600, Y-Globe Valve "]
["P207-ER-A01-15","(주)일신밸브","Various","2\" Class 600, Y-Globe Valve "]
["P207-ER-A01-17","(주)일신밸브","5/6-612-V-2005/2006/2008/2009","2\" Class 600, Y-Globe Valve with yoke mounted position switch"]
["P207-ER-A01-18","(주)일신밸브","5/6-451-V-0719\n0-472-V-1427/1428/ 1431/1432/1433/1434/ 1435/1436","1/2\" Class 150, Piston check Valve "]
["P207-ER-A01-19","(주)일신밸브","Various","3/4\" Class 150&300&600, Piston check Valve "]
["P207-ER-A01-20","(주)일신밸브","Various","1\" Class 150&300&600, Piston check Valve "]
["P207-ER-A01-21","(주)일신밸브","Various","1-1/2\" Class 150&300, Piston check Valve "]
["P207-ER-A01-22","(주)일신밸브","Various","2\" Class 150&300&600, Piston check Valve "]
["P207-ER-A01-23","(주)일신밸브","0-691-V-1021D","2\" Class 150, Piston check Valve "]
["P207-ER-A01-24","(주)일신밸브","5/6-451-V-0365\n5/6-471-V-1024\n5/6-491-V-1061/1062 /1063/1064/1065/1066","1/2\" Class 150, Swing check Valve "]
["P207-ER-A01-25","(주)일신밸브","0-471-V-1027","3/4\" Class 150, Swing check Valve "]
["P207-ER-A01-26","(주)일신밸브","5/6-451-V-0487\n5/6-471-V-1023/1030\n6-562-V-1096","1\" Class 150, Swing check Valve "]
["P207-ER-A01-27","(주)일신밸브","0-471-V-1016\n5/6-471-V-1001/1018\n5/6-598-V-1023A/1023B/ 1023C/1027","2\" Class 150&300, Swing check Valve "]
["P207-ER-A01-28","(주)일신밸브","0-471-V-1022/1025/2016","1\" Class 600, Bellows Globe Valve "]
["P207-ER-A01-29","(주)일신밸브","0-471-V-1008\n5/6-471-V-1017","2\" Class 600, Bellows Globe Valve "]
["P207-ER-A01-30","(주)일신밸브","Various","1/2\" Class 600, Bellows Y-Globe Valve "]
["P207-ER-A01-31","(주)일신밸브","Various","3/4\" Class 600, Bellows Y-Globe Valve "]
["P207-ER-A01-32","(주)일신밸브","Various","1\" Class 600, Bellows Y-Globe Valve "]
["P207-ER-A01-33","(주)일신밸브","5/6-669-V-1072","1-1/2\" Class 600, Bellows Y-Globe Valve "]
["P207-ER-A01-34","(주)일신밸브","Various","2\" Class 600, Bellows Y-Globe Valve "]
["P207-ER-A01-35","(주)일신밸브","Various","3/4\" Class 1500, Y-Globe Valve "]
["P207-ER-A01-36","(주)일신밸브","Various","1\" Class 1500, Y-Globe Valve "]
["P207-ER-A01-37","(주)일신밸브","Various","1-1/2\" Class 1500, Y-Globe Valve "]
["P207-ER-A01-38","(주)일신밸브","Various","2\" Class 1500, Y-Globe Valve "]
["P207-ER-A01-39","(주)일신밸브","Various","1\" Class 900&1500, Piston Check Valve "]
["P207-ER-A01-40","(주)일신밸브","Various","3/4\" Class 1500, Y-Globe Valve "]
["P207-ER-A01-41","(주)일신밸브","Various","1\" Class 1500, Bellows Y-Globe Valve "]
["P207-ER-A01-42","(주)일신밸브","Various","1-1/2\" Class 1500, Bellows Y-Globe Valve "]
["P207-ER-A01-43","(주)일신밸브","Various","2\" Class 1500, Bellows Y-Globe Valve "]
["P207-ER-A01-44","(주)일신밸브","5/6-451-V-0499/0708/0709","2\" Class 600, Gate Valve with Yoke Mounted Position Switch"]
["P207-ER-A01-45","(주)일신밸브","5/6-431-V-0223/0224","3/4\" Class 2500, Piston Check Valve "]
["P207-ER-B01-01","(주)일신밸브","9-451-V-0434","GATE VALVE"]
["P207-ER-B01-02","(주)일신밸브","9-431-V-0236, 9-431-V-0237","GLOBE VALVE"]
["P207-ER-B01-03","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-04","(주)일신밸브","9-431-V-0752, 9-431-V-0753, 9-431-V-0754, 9-431-V-0755, 9-451-V-0788, 9-451-V-0803, 9-451-V-0808, 9-451-V-0813","GLOBE VALVE"]
["P207-ER-B01-05","(주)일신밸브","9-431-V-0215, 9-431-V-0216, 9-431-V-0232, 9-431-V-0233, 9-431-V-0234, 9-431-V-0235, 9-431-V-0332, 9-431-V-0333, 9-431-V-0334, 9-431-V-0335, 9-431-V-2300","GLOBE VALVE"]
["P207-ER-B01-06","(주)일신밸브","9-451-V-0787, 9-451-V-0802, 9-451-V-0807, 9-451-V-0812, 9-451-V-0866, 9-451-V-0867, 9-451-V-0868, 9-451-V-0869","CHECK VALVE"]
["P207-ER-B01-07","(주)일신밸브","9-451-V-0431, 9-451-V-0433","CHECK VALVE"]
["P207-ER-B01-08","(주)일신밸브","9-451-V-0435","CHECK VALVE"]
["P207-ER-B01-09","(주)일신밸브","9-763-V-1021, 9-763-V-1022","GATE VALVE"]
["P207-ER-B01-10","(주)일신밸브","9-442-V-2036, 9-442-V-2037, 9-761-V-2055A, 9-761-V-2055B","GATE VALVE"]
["P207-ER-B01-11","(주)일신밸브","9-451-V-0364","PRM & BORONOMETER ISO VV"]
["P207-ER-B01-12","(주)일신밸브","9-633-V-1005A, 9-633-V-1005B, 9-633-V-1015A, 9-633-V-1015B","GATE VALVE"]
["P207-ER-B01-13","(주)일신밸브","9-461-V-2081, 9-461-V-2082, 9-461-V-2083, 9-461-V-2084, 9-461-V-2085, 9-461-V-2087, 9-461-V-2088, 9-595-V-1006A, 9-595-V-1006B, 9-595-V-1008A, 9-595-V-1008B","GATE VALVE"]
["P207-ER-B01-14","(주)일신밸브","9-451-V-0359, 9-451-V-0366, 9-451-V-2081, 9-451-V-2082","GLOBE VALVE"]
["P207-ER-B01-15","(주)일신밸브","9-451-V-0361, 9-451-V-0375","GLOBE VALVE"]
["P207-ER-B01-16","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-17","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-18","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-19","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-20","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-21","(주)일신밸브","9-441-V-0708, 9-441-V-0709","GLOBE VALVE"]
["P207-ER-B01-22","(주)일신밸브","9-491-V-1020, 9-763-V-1013, 9-763-V-1014","CHECK VALVE"]
["P207-ER-B01-23","(주)일신밸브","Various","CHECK VALVE"]
["P207-ER-B01-24","(주)일신밸브","9-451-V-0112, 9-451-V-0646, 9-451-V-0653","CHECK VALVE"]
["P207-ER-B01-25","(주)일신밸브","9-451-V-0494, 9-461-V-1325, 9-461-V-1326, 9-633-V-1011A, 9-633-V-1011B, 9-633-V-1022A, 9-633-V-1022B","CHECK VALVE"]
["P207-ER-B01-26","(주)일신밸브","Various","CHECK VALVE"]
["P207-ER-B01-27","(주)일신밸브","9-461-V-1109, 9-461-V-1110","CHECK VALVE"]
["P207-ER-B01-28","(주)일신밸브","9-451-V-0449","CHECK VALVE"]
["P207-ER-B01-29","(주)일신밸브","9-471-V-2002","GLOBE VALVE"]
["P207-ER-B01-30","(주)일신밸브","9-441-V-0112, 9-441-V-0118, 9-441-V-0122, 9-441-V-0128, 9-441-V-0132, 9-441-V-0138, 9-441-V-0142, 9-441-V-0148","GLOBE VALVE"]
["P207-ER-B01-31","(주)일신밸브","9-455-V-2965, 9-455-V-2966, 9-455-V-2967, 9-455-V-2968","GATE VALVE"]
["P207-ER-B01-32","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-33","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-34","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-35","(주)일신밸브","9-441-V-0700, 9-441-V-0701, 9-441-V-0714, 9-441-V-0715","GLOBE VALVE"]
["P207-ER-B01-36","(주)일신밸브","9-541-V-1050, 9-541-V-1052, 9-542-V-1022A, 9-542-V-1022B, 9-542-V-1024A, 9-542-V-1024B","CHECK VALVE"]
["P207-ER-B01-37","(주)일신밸브","9-441-V-0704, 9-441-V-0705, 9-441-V-0706, 9-441-V-0707","CHECK VALVE"]
["P207-ER-B01-38","(주)일신밸브","9-527-V-1024A, 9-527-V-1024B, 9-527-V-1026A, 9-527-V-1026B","GLOBE VALVE"]
["P207-ER-B01-39","(주)일신밸브","Various","GATE VALVE"]
["P207-ER-B01-40","(주)일신밸브","9-451-V-0362","GATE VALVE"]
["P207-ER-B01-41","(주)일신밸브","9-451-V-0825, 9-451-V-0826, 9-451-V-0844, 9-451-V-0845, 9-451-V-1107, 9-451-V-1108","GLOBE VALVE"]
["P207-ER-B01-42","(주)일신밸브","9-451-V-0822, 9-451-V-0823, 9-451-V-1105, 9-451-V-1106","GLOBE VALVE"]
["P207-ER-B01-43","(주)일신밸브","9-451-V-0816, 9-451-V-0818, 9-451-V-0819, 9-451-V-0821","GLOBE VALVE"]
["P207-ER-B01-44","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-45","(주)일신밸브","Various","GLOBE VALVE"]
["P207-ER-B01-46","(주)일신밸브","9-451-V-1027","GLOBE VALVE"]
["P207-ER-B01-47","(주)일신밸브","9-451-V-0335, 9-451-V-0340, 9-451-V-0796, 9-451-V-0797, 9-451-V-2005","GLOBE VALVE"]
["P207-ER-B01-48","(주)일신밸브","9-431-V-0771, 9-431-V-0772, 9-431-V-0773, 9-431-V-0774","CHECK VALVE"]
["P207-ER-B01-49","(주)일신밸브","9-451-V-0307, 9-451-V-0308, 9-451-V-0334, 9-451-V-0341, 9-451-V-0363, 9-451-V-0835","CHECK VALVE"]
["P207-ER-B01-50","(주)일신밸브","9-451-V-0388, 9-451-V-0396, 9-451-V-0575, 9-451-V-0880","GATE VALVE"]
["P207-ER-B01-51","(주)일신밸브","9-691-V-1413, 9-691-V-1414, 9-691-V-1422, 9-691-V-1423","GATE VALVE"]
["P207-ER-B01-52","(주)일신밸브","9-431-V-0221, 9-431-V-0222","CHECK VALVE"]
["P208-ER-A01-01","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-02","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-03","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-04","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-05","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-06","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-07","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-08","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-09","SAMSHIN LIMITED","N/A","N/A"]
["P208-ER-A01-10","SAMSHIN LIMITED","N/A","N/A"]
["P208-ER-A01-11","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P208-ER-A01-12","SAMSHIN LIMITED","N/A","N/A"]
["P208-ER-A01-13","SAMSHIN LIMITED","N/A","N/A"]
["P208-ER-A01-14","SAMSHIN LIMITED","Various","DIAPHRAGM VALVES"]
["P209-DC-D01-01","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-02","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-03","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-04","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-05","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-06","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-07","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-08","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-09","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-10","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-11","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-15","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-16","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-18","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-19","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-20","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-21","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-DC-D01-22","PK밸브","Various","MANUAL STEEL GATE, GLOBE AND CHECK VALVES"]
["P209-ER-A01-01","PK밸브","5/6-691-V-1644, 5/6-691-V-1646, 5/6-691-V-1652, 5/6-691-V-1656","GATE VALVE"]
["P209-ER-A01-02","PK밸브","5/6-691-V-1654","GATE VALVE"]
["P209-ER-A01-03","PK밸브","5/6-691-V-1412, 5/6-691-V-1415, 5/6-691-V-1416, 5/6-691-V-1417, 5/6-691-V-1418, 5/6-691-V-1419, 5/6-691-V-1420, \n5/6-691-V-1421","GATE VALVE"]
["P209-ER-A01-04","PK밸브","5/6-691-V-1053A, 5/6-691-V-1053B, 5/6-691-V-1061A, 5/6-691-V-1061B, 5/6-691-V-1061C","GATE VALVE"]
["P209-ER-A01-05","PK밸브","5/6-691-V-1044, 5/6-691-V-1045, 5-691-V-2501, 5-691-V-2502, 5-691-V-2503, 5-691-V-2504, 5/6-691-V-2505, \n5/6-691-V-2507","GATE VALVE"]
["P209-ER-A01-06","PK밸브","5/6-691-V-1062","GATE VALVE"]
["P209-ER-A01-07","PK밸브","5/6-441-V-2311, 5/6-463-V-2602, 5/6-463-V-2902","EXTERNAL EMERGENCY INJECTION LINE YARD ISOL VV, \nSFP A EXTERNAL MAKEUP LINE ISOL V/V,\nSFP B EXTERNAL MAKEUP LINE ISOL V/V"]
["P209-ER-A01-08","PK밸브","6-691-V-1040, 5/6-691-V-1041, 5/6-691-V-1042, 5/6-691-V-1043, 5/6-691-V-1441, 5/6-691-V-1442, 5/6-691-V-1443,\n5/6-691-V-1640, 5/6-691-V-1650","GATE VALVE"]
["P209-ER-A01-09","PK밸브","5/6-691-V-1446","GATE VALVE"]
["P209-ER-A01-10","PK밸브","5/6-691-V-1080, 5/6-691-V-1081, 5/6-691-V-1082, 5/6-691-V-1083, 5/6-691-V-1101, 5/6-691-V-1102, 5-691-V-2329","GATE VALVE"]
["P209-ER-A01-11","PK밸브","5/6-691-V-1084","GATE VALVE"]
["P209-ER-A01-12","PK밸브","5/6-581-V-1044, 5/6-581-V-1045","GATE VALVE"]
["P209-ER-A01-13","PK밸브","0-581-V-1036","GATE VALVE"]
["P209-ER-A01-15","PK밸브","Various","GLOBE VALVE"]
["P209-ER-A01-16","PK밸브","5/6-691-V-1426, 5/6-691-V-1427, 5/6-691-V-1428, 5/6-691-V-1429, 5/6-691-V-1430, 5-691-V-1431, 5-691-V-1432,\n5-691-V-1433","GLOBE VALVE"]
["P209-ER-A01-18","PK밸브","5/6-691-V-1645, 5/6-691-V-1647, 5/6-691-V-1651, 5/6-691-V-1653, 5/6-691-V-1655, 5/6-691-V-1657","CHECK VALVE"]
["P209-ER-A01-19","PK밸브","5/6-691-V-1902B, 5/6-691-V-1908I, 5/6-691-V-1908J, 5/6-691-V-1908K, 5/6-691-V-1908L","CHECK VALVE"]
["P209-ER-A01-20","PK밸브","5/6-463-V-2601, 5/6-463-V-2901","SFP A EXTERNAL MAKEUP LINE CHK V/V"]
["P209-ER-A01-21","PK밸브","5/6-691-V-1902A","CHECK VALVE"]
["P209-ER-A01-22","PK밸브","5/6-676-V-1100A, 5/6-676-V-1100B","CHECK VALVE"]
["P209-ER-A01-23","PK밸브","5/6-691-V-1056A, 5/6-691-V-1056B","CHECK VALVE"]
["P209-ER-A01-24","PK밸브","5/6-691-V-1060A, 5/6-691-V-1060B","GLOBE VALVE"]
["P209-ER-A01-25","PK밸브","5/6-593-V-1001, 5/6-593-V-1002, 5/6-593-V-1003, 5/6-593-V-1004, 5/6-593-V-1009, 5/6-593-V-1010","GATE VALVE"]
["P209-ER-A01-26","PK밸브","5/6-593-V-2001, 5/6-593-V-2023","GATE VALVE"]
["P216-ER-A01-01","정우산기(주)","Various","STRAINERS"]
["P216-ER-A01-02","정우산기(주)","Various","STRAINERS"]