{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["재생에너지(분기)"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"재생에너지(분기)","index":0,"n_rows":14,"n_cols":5,"rows_kept":14,"cut":false,"hidden":false,"merged":[[0,0,0,4],[3,0,4,0],[3,1,3,2],[3,3,4,3],[3,4,4,4]]}
["2023년 2분기 (신)재생에너지 사용량(김천사옥)"]
[]
[]
["년도","MWh",null,"MWh","비고"]
[null,"지열히트펌프","태양광 발전"]
["1월",430,180.59100000000001,{"$f":"SUM(B6:C6)","v":610.59100000000001}]
["2월",273,181.71799999999999,{"$f":"SUM(B7:C7)","v":454.71799999999996}]
["3월",114,238.04300000000001,352.04300000000001]
["1/4분기 합계",{"$f":"SUM(B6:B8)","v":817},{"$f":"SUM(C6:C8)","v":600.35199999999998},1417.3519999999999]
["4월",14,231.70699999999999,{"$f":"SUM(B10:C10)","v":245.70699999999999}]
["5월",66,237.14400000000001,{"$f":"SUM(B11:C11)","v":303.14400000000001}]
["6월",451,243.95500000000001,243.95500000000001]
["2/4분기 합계",{"$f":"SUM(B10:B12)","v":531},{"$f":"SUM(C10:C12)","v":712.80600000000004},792.80600000000004]
["2분기 합계",{"$f":"SUM(B13,B9)","v":1348},{"$f":"SUM(C13,C9)","v":1313.1579999999999},2210.1579999999999]