{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["청사 에너지관리 현황"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"청사 에너지관리 현황","index":0,"n_rows":14,"n_cols":6,"rows_kept":14,"cut":false,"hidden":false,"merged":[[8,0,10,0],[11,0,13,0],[1,0,1,5],[3,0,4,1],[3,5,4,5],[5,0,7,0],[3,2,3,4]]}
[]
["2022년 청사 에너지관리 현황"]
[]
["구    분",null,"사용량",null,null,"비    고"]
[null,null,"2021년도\n(A)","2022년도\n(B)","증감\nC=B-A"]
["김  천","전기(KW)",11009549,11442600,{"$f":"D6-C6","v":433051}]
[null,"수도(ton)",71615,78772,{"$f":"D7-C7","v":7157}]
[null,"도시가스(㎥)",196074,192035.20910000001,{"$f":"D8-C8","v":-4038.7908999999927}]
["용  인","전기(KW)",882946,908246,25300]
[null,"수도(ton)",4035,3989,-46]
[null,"도시가스(㎥)",65991,68941,2950]
["합  계","전기(KW)",{"$f":"+C6+C9","v":11892495},{"$f":"+D6+D9","v":12350846},{"$f":"D12-C12","v":458351}]
[null,"수도(ton)",{"$f":"+C7+C10","v":75650},82761,{"$f":"D13-C13","v":7111}]
[null,"도시가스(㎥)",262065,260976.20910000001,{"$f":"D14-C14","v":-1088.7908999999927}]