{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["종합"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"종합","index":0,"n_rows":25,"n_cols":6,"rows_kept":25,"cut":false,"hidden":false,"merged":[[0,0,0,5],[2,0,3,0],[2,1,2,3],[2,4,3,4],[2,5,3,5]]}
["2023.01~2024.03 사옥 신재생 에너지 생산현황"]
[]
["생산기간","신재생에너지 생산량(MWh)",null,null,"신재생에너지\n사용비율(%)","비고"]
[null,"지열발전","태양광발전","소계"]
["2023. 01",626,180.59100000000001,806.59100000000001,38]
["2023. 02",608,181.71799999999999,789.71799999999996,42]
["2023. 03",414,238.04300000000001,652.04300000000001,40]
["1/4 합계",{"$f":"SUM(B5:B7)","v":1648},{"$f":"SUM(C5:C7)","v":600.35199999999998},2248.3519999999999,{"$f":"AVERAGE(E5:E7)","v":40}]
["2022. 4",65,231.70699999999999,{"$f":"SUM(B9:C9)","v":296.70699999999999},27]
["2022. 5",170,237.14400000000001,407.14400000000001,32]
["2022. 6",492,243.95500000000001,735.95500000000004,40]
["2/4 합계",{"$f":"SUM(B9:B11)","v":727},{"$f":"SUM(C9:C11)","v":712.80600000000004},{"$f":"SUM(D9:D11)","v":1439.806},{"$f":"AVERAGE(E9:E11)","v":33}]
["2023. 07",621,189.82599999999999,{"$f":"SUM(B13:C13)","v":810.82600000000002},36]
["2023. 08",694,206.57900000000001,900.57899999999995,36]
["2023. 09",363,184.42599999999999,547.42599999999993,30]
["3/4 합계",{"$f":"SUM(B13:B15)","v":1678},{"$f":"SUM(C13:C15)","v":580.8309999999999},{"$f":"SUM(D13:D15)","v":2258.8310000000001},{"$f":"AVERAGE(E13:E15)","v":34}]
["2023. 10",65,223.02199999999999,{"$f":"SUM(B17:C17)","v":288.02199999999999},24]
["2023. 11",216,168.68600000000001,384.68600000000004,13]
["2023. 12",472,150.93199999999999,622.93200000000002,31]
["4/4 합계",{"$f":"SUM(B17:B19)","v":753},{"$f":"SUM(C17:C19)","v":542.64},{"$f":"SUM(D17:D19)","v":1295.6400000000001},{"$f":"AVERAGE(E17:E19)","v":22.666666666666668}]
["합 계",{"$f":"B8+B12+B16+B20","v":4806},{"$f":"C8+C12+C16+C20","v":2436.6289999999999},7242.6289999999999,{"$f":"AVERAGE(E5,E6,E7,E9,E10,E11,E13,E14,E15,E17,E18,E19)","v":32.416666666666664}]
["2024. 01",537,171.04499999999999,708.04499999999996,34]
["2024. 02",450,125.941,575.94100000000003,32]
["2024. 03",381,213.80600000000001,594.80600000000004,34]
["1/4 합계",{"$f":"SUM(B22:B24)","v":1368},{"$f":"SUM(C22:C24)","v":510.79200000000003},1878.7919999999999,{"$f":"AVERAGE(E22:E24)","v":33.333333333333336}]