{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["원전 안전관련기기 내진검증현황('25년 3분기)"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"원전 안전관련기기 내진검증현황('25년 3분기)","index":0,"n_rows":216,"n_cols":4,"rows_kept":216,"cut":false,"hidden":false,"merged":[]}
["기기검증보고서 번호","업체명","기기번호","기기식별"]
["E207-ER-A01-01","선도전기(주)","5/6-823-E-SW01A/B\n5/6-823-E-SW02A/B","4.16kV Metal Clad Switchgears"]
["E207-ER-C01-01","선도전기(주)","5/6-822-E-SW03N","Seismic Cat. I AAC DG 4.16kV Metal Clad Switchgears"]
["E208-ER-A01-01","(주)비츠로이에스","5/6-825-E-LC01A/B\n5/6-825-E-LC02A/B\n5/6-825-E-LC02","480V Load Centers"]
["E208-ER-A01-01","(주)비츠로이에스","5/6-824-E-LC17N","Seismic Cat. I AAC DG 480V Load Centers"]
["E209-ER-A01-02","엘에스일렉트릭(주)","5/6-827-E-MC01∼09A/B","480V Motor Control Centers"]
["E209-ER-A01-04","엘에스일렉트릭(주)","5/6-826-E-MC33N\n5/6-826-E-MC34N\n5/6-826-E-MC35N","Seismic Cat. I AAC DG 480V Motor Control Centers"]
["E209-ER-A01-01","엘에스일렉트릭(주)","5/6-431-E-SQ01A/B/C/D\n5/6-431-E-SQ02A/B/C/D\n5/6-431-E-SQ06C/D\n5/6-431-E-SQ07C/D\n5/6-441-E-SQ01C/D\n5/6-447-E-SQ01C/D\n5/6-447-E-SQ02C/D\n5/6-451-E-SQ01B\n5/6-606-E-SQ01\n5/6-441-W-001A/B/C/D\n5/6-441-W-002A/B/C/D\n5/6-441-W-005A/B/C/D\n5/6-447-W-004C/005C","Local Starters & Fuse Terminal Box"]
["E209-ER-A01-03","엘에스일렉트릭(주)","5/6-443-E-DP01","Hydrogen Igniter Distribution Panels"]
["E209-ER-A01-05","엘에스일렉트릭(주)","5/6-442-W-001Z","Manual Transfer Box"]
["E212-ER-A01-03","세방전지㈜","5/6-841-E-BT01A/B/C/D","Batteries with Racks"]
["E212-ER-A01-02","세방전지㈜","5/6-841-E-BT04N","Seismic Cat. I AAC DG Batteries with Racks"]
["E214-ER-A01-01","국제 전기(주)","5/6-841-E-BC01A/B/C/D","Class 1E Battery Chargers"]
["E214-ER-A01-03","국제 전기(주)","5/6-842-E-TR01A/B/C/D","Class 1E Regulating Transformers"]
["E214-ER-A01-02","국제 전기(주)","5/6-841-E-IN01A/B/C/D","Class 1E MOV Inverters"]
["E215-ER-A01-01\nE215-ER-A01-02","국제 전기(주)","5/6-841-E-BC04N\n5/6-842-E-UP04N","Seismic Cat. I AAC DG Battery Chargers/UPS"]
["E216-ER-A01-01","현대일렉트릭(주)","5/6-841-E-MC01A/B/C/D","125V DC Motor Control Centers"]
["E216-ER-A01-02","현대일렉트릭(주)","5/6-841-E-MC04N","Seismic Cat. I AAC DG 125V DC Motor Control Centers"]
["E216-ER-A01-01","현대일렉트릭(주)","5/6-542-E-SQ01C/D\n5/6-441-E-SQ02C/D","125V DC Local Starters"]
["E230-ER-A01-01","MIRION TECHNOLOGIES","Various","Low Voltage Power/Control Electric Penetration Assemblies"]
["E230-ER-A01-01","MIRION TECHNOLOGIES","Various","Medium Voltage Power Electric Penetration Assemblies"]
["E230-ER-A01-01","MIRION TECHNOLOGIES","Various","Low Voltage Instrumentation Electric Penetration Assemblies"]
["E240-ER-A01-01","MIRION TECHNOLOGIES","N/A","Electrical Conductor Sealing Assemblies"]
["E248-ER-A01-01","(주)우진","N/A","RSPT Type I & II Cable Assembly"]
["E248-ER-A01-01","(주)우진","N/A","ICI Cable Assembly"]
["E248-ER-A01-01","(주)우진","N/A","HJTC Cable Assembly "]
["J201-ER-A01-01","DELPHI CONTROL SYSTEMS, INC.","5/6-763-J-LP01A/B","Containment Post-LOCA Hydrogen Analyzer Cabinets"]
["J201-ER-A01-02","DELPHI CONTROL SYSTEMS, INC.","5/6-763-J-LP02A/B","Containment Post-LOCA Hydrogen Monitor Cabinets"]
["J201-ER-A01-03","DELPHI CONTROL SYSTEMS, INC.","5/6-763-J-LP03A/B","Hydrogen Analyzer Gas Bottle Rack"]
["J201-ER-A01-04","DELPHI CONTROL SYSTEMS, INC.","N/A","Heat Tracing for Hydrogen Monitoring System"]
["J202-ER-A19-01","APANTEC. LLC","5/6-752-J-PA47A/B","S/R Divisionalized Cabinet(BOP Radiation Monitoring Cabinet)"]
["J202-ER-A08-01","APANTEC. LLC","5/6-761-J-RE/RT-0071A\n5/6-761-J-RE/RT-0072B\n5/6-761-J-RE/RT-0073A\n5/6-761-J-RE/RT-0074B","Control Room Air Intake Monitor"]
["J202-ER-A17-01","APANTEC. LLC","5/6-761-J-RE/RT-0241A\n5/6-761-J-RE/RT-0242B\n5/6-761-J-RE/RT-0243A\n5/6-761-J-RE/RT-0244B","Spent Fuel Pool Area Monitor"]
["J203-ER-A01-01","GEOSIG LTD","0-752-J-PA38M","Seismic Monitoring System Cabinet"]
["J203-ER-A01-01","GEOSIG LTD","0-762-J-VT-0001 ∼ \n0-762-J-VT-0007","Seismic Sensor"]
["J209-ER-A01-01","라텍","5/6-623-J-LP02","HVAC Local Panel"]
["J210-ER-A01-01","VITZROSYS CO., LTD","5/6-633-J-LP01A\n5/6-633-J-LP01B\n5/6-633-J-LP01C\n5/6-633-J-LP01D","Essential Chilled \nWater System \nControl Panel"]
["J210-ER-A01-01","VITZROSYS CO., LTD","5/6-543-J-LI-0003A02/\n0004B02/0005A02/0006B02\n5/6-633-J-LI-0003C02/\n0004D02","Field Indicator Devices"]
["J210-ER-A01-01","VITZROSYS CO., LTD","Various","Local Control Station"]
["J217C-ER-A01-01","HITROL CO., LTD.","Various","Ultrasonic Level Switches & Transmitters"]
["J217C-ER-B01-01","HITROL CO., LTD.","Various","Ultrasonic Level Switches & Transmitters"]
["J224-ER-A01-01\nJ224-ER-A01-03","와이즈산전","Various","Averaging Pitot Tubes"]
["J226-ER-A01-01\nJ226-ER-A01-02","HITROL CO., LTD.","Various","Thermal Dispersion Type Instrument"]
["J227-ER-A01-01","(주)우진","Various","Temperature Elements & Thermowells"]
["J230A-ER-A01-01\nJ230A-ER-A02-01","ROSEMOUNT NUCLEAR INSTRUMENTS, INC","Various","General Type Field Instruments"]
["J230C-ER-A01-01\nJ230C-ER-A01-02","두온시스템 주식회사","Various","Intelligent Type Field Instruments"]
["J232B-ER-A01-01~06, 15~25, 27, 28, 30, 35, 44~53","㈜트릴리엄플로우코리아","Various","Control Valves"]
["J233-ER-A01-01~29","SAMSHIN LIMITED","Various","Butterfly Valves "]
["J233-ER-A02-01","SAMSHIN LIMITED","Various","Motor Actuator"]
["J233-ER-A06-01","SAMSHIN LIMITED","Various","Potentiometer"]
["J233-ER-A05-01","SAMSHIN LIMITED","Various","Pnuematic Actuator "]
["J233-ER-A04-01","SAMSHIN LIMITED","Various","Electro-Hydraulic Actuator "]
["J233-ER-A03-01","SAMSHIN LIMITED","Various","Electrical Conductor Seal Assembly"]
["J239-ER-A01-01\nJ239-ER-A01-02\nJ239-ER-A01-03","TARGET ROCK DIVISION","Various","Solenoid Vavles"]
["J239-ER-B01-01\nJ239-ER-B01-02","TARGET ROCK DIVISION","Various","Solenoid Vavles"]
["J240-ER-A01-01","HY-LOK CORPORATION","Various","Instrument Valves"]
["9-751-700-Z-N-465-910\n9-751-700-Z-N-465-915\n9-751-921-Z-N-466-912\n9-751-921-Z-N-466-914\n9-751-921-Z-N-466-915","두산에너빌리티","5/6-751-J-PM01∼06\n5/6-754-J-RU01","MMIS-BOP MCR (RO, TO/EO, SS, STA, Safety) Consoles, RSR(RSC)"]
["9-751-921-Z-N-466-902\n9-751-921-Z-N-466-904\n9-751-921-Z-N-466-905","두산에너빌리티","5/6-751-J-PM01∼06\n5/6-754-J-RU01","MMIS-BOP MCR (RO, TO/EO, SS, STA, Safety) Consoles, RSR(RSC)"]
["9-745-940-Z-N-466-911","두산에너빌리티","5/6-745-J-LX(01∼08, 10)A,B,C,D\n5/6-745-J-LX(09, 11∼21)A,B\n5/6-752-J-PA06C,D\n5/6-752-J-PA03A,B,C,D\n5/6-752-J-PA10A,B,C,D","MMIS-BOP \nESF-CCS\n(LC, GC, CPM)"]
["9-745-940-Z-N-466-901","두산에너빌리티","5/6-745-J-LX(01∼08, 10)A,B,C,D\n5/6-745-J-LX(09, 11∼21)A,B\n5/6-752-J-PA06C,D\n5/6-752-J-PA03A,B,C,D\n5/6-752-J-PA10A,B,C,D","MMIS-BOP \nESF-CCS\n(LC, GC, CPM)"]
["9-729-960-Z-N-466-911","두산에너빌리티","5/6-752-J-PA17N-01\n5/6-752-J-PA17N-02\n5/6-752-J-PA17N-03","MMIS-BOP QIAS-N"]
["N/A","두산에너빌리티","5/6-752-J-PA17N-01\n5/6-752-J-PA17N-02\n5/6-752-J-PA17N-03","MMIS-BOP QIAS-N"]
["9-746-930-Z-N-466-912\n9-746-930-Z-N-466-913","두산에너빌리티","5/6-746-J-LX12,68,70 ","MMIS-BOP P-CCS"]
["N/A","두산에너빌리티","5/6-746-J-LX12,68,70 ","MMIS-BOP P-CCS"]
["M206-ER-A01-01\nM206-ER-A01-02","현대중공업터보기계 ㈜","5/6-542-M-PP02A/B","Motor Driven Aux. Feedwater Pumps & Motor"]
["M206-ER-D01-01\nM206-ER-D01-02","현대중공업터보기계 ㈜","5/6-542-M-PP02A/B","Motor Driven Aux. Feedwater Pumps & Motor"]
["M206-ER-A01-03","현대중공업터보기계 ㈜","5/6-527-M-TA01A/B\n5/6-542-M-PP01A/B","Turbine Driven Aux. Feedwater Pumps"]
["M206-ER-A01-07","현대중공업터보기계 ㈜","5/6-542-M-PP72A/B","Auxiliary Oil Pump DC Motor"]
["M206-ER-A01-10\nM206-ER-A01-11","현대중공업터보기계 ㈜","5/6-542-M-OR03A/B\n5/6-542-M-OR01A/B\n5/6-542-M-OR02A/B","Cavitating Venturi and Orifice"]
["M206-ER-A01-09\nM206-ER-A01-27","현대중공업터보기계 ㈜","5/6-542-V-3001∼3004\n5/6-527-M-TP71A/B\n5/6-527-M-TP72A/B","Regulating Valve, \nSteam Trap"]
["M206-ER-A01-24","현대중공업터보기계 ㈜","5/6-542-V-3017A/B\n5/6-542-V-3018A/B","Safety Relief Valves"]
["M206-ER-A01-17","현대중공업터보기계 ㈜","5/6-527-V-3009/3010","Limitorque Motor Operated Actuators "]
["M206-ER-A01-12","현대중공업터보기계 ㈜","5/6-527-M-EE71A/B","Steam Ejector"]
["M206-ER-A01-14","현대중공업터보기계 ㈜","5/6-542-M-PP72A/B","Auxiliary Oil Pump"]
["M206-ER-A01-05","현대중공업터보기계 ㈜","5/6-542-M-TK71A/B","Lube Oil Unit"]
["M206-ER-A01-26","현대중공업터보기계 ㈜","5/6-527-V-3015/3016","Steam Sentinel Valve"]
["M206-ER-A01-08","현대중공업터보기계 ㈜","5/6-527-V-3007/3008","Pressure Regulating Valve for TD AFWP"]
["M206-ER-A01-04","현대중공업터보기계 ㈜","5/6-527-V-3009/3010","Trip & Throttle valve"]
["M206-ER-A01-04","현대중공업터보기계 ㈜","5/6-527-V-3011/3012","Governing valve"]
["M206-ER-A01-21","현대중공업터보기계 ㈜","5/6-527-J-ZZ-3001C/D","Linear electric actuator "]
["M206-ER-A01-16","현대중공업터보기계 ㈜","5/6-527-M-TA01A/B-B3","Sensor T/B"]
["M206-ER-A01-06","현대중공업터보기계 ㈜","5/6-542-M-PP01A/B\n5/6-527-M-TA01A/B","Cooler & Piping"]
["M206-ER-A01-13","현대중공업터보기계 ㈜","5/6-527-M-OR71A/B\n5/6-527-M-OR72A/B\n5/6-527-M-OR73A/B\n5/6-527-M-OR74A/B\n5/6-542-M-OR71A/B\n5/6-542-M-OR72A/B\n5/6-542-M-OR81A/B\n5/6-542-M-OR82A/B\n5/6-542-M-OR83A/B\n5/6-542-M-OR84A/B\n5/6-542-M-OR85A/B","Drain Orifice"]
["M206-ER-A01-23","현대중공업터보기계 ㈜","5/6-527-J-LP01C/D","AF Pump Turbine Control Panel"]
["M206-ER-A01-15","현대중공업터보기계 ㈜","Various","Manual & check valves "]
["M206-ER-A01-19\nM206-ER-A01-20","현대중공업터보기계 ㈜","5/6-527-J-PC3019/3020\n5/6-527-J-SE-3035C/3036D\n5/6-527-J-SE-3045C/3046D","Hydraulic Amplifier & Speed Sensor"]
["M206-ER-D01-07\nM206-ER-D01-08","현대중공업터보기계 ㈜","5/6-527-J-PC3019/3020\n5/6-527-J-SE-3035C/3036D\n5/6-527-J-SE-3045C/3046D","Hydraulic Amplifier & Speed Sensor"]
["M206-ER-A01-25","현대중공업터보기계 ㈜","5/6-527-J-ZS-3101C/D","Limit Switch"]
["M212-ER-A01-01","신신기계(주)","5/6-442-M-PP02","Dedicated Severe Accident Containment Spray Pump"]
["M212-ER-A02-01","신신기계(주)","5/6-442-M-PP02","Dedicated Severe Accident Containment Spray Pump Motor"]
["M214-ER-A01-01","신신기계(주)","5/6-595-M-PP01A/B\n5/6-595-M-PP02A/B","Diesel Fuel Oil Transfer Pump"]
["M214-ER-A02-01","신신기계(주)","5/6-595-M-PP01A/B\n5/6-595-M-PP02A/B","Diesel Fuel Oil \nTransfer Pump Motor"]
["M227-ER-A01-01","LG전자(주)","5/6-633-M-CH01A/B\n5/6-633-M-CH02A/B","Essential Chillers"]
["M229A-ER-A01-01","(주)엘에치이","5/6-442-M-HE03","DSACS Heat Exchanger"]
["M241-ER-A01-02","(주)무진기연","5/6-553-M-TS09A/B","ESW Traveling Screen Motor"]
["M241-ER-A01-01","(주)무진기연","5/6-553-M-TS09A/B","ESW Traveling Screen Structures"]
["M241-ER-A01-02","(주)무진기연","5/6-553-M-TS09A/B","ESW Traveling Screen Driving Unit"]
["M241-ER-A02-01\nM241-ER-A02-02","(주)무진기연","5/6-553-J-LP02A/B\n5/6-553-J-LP11A\n5/6-553-J-LP11B","ESW TWS Control Panel"]
["M243-ER-A01-01\nM243-ER-A05-01\nM243-ER-A06-01","FLOWSERVE US, INC.","5/6-521-V-0011\n5/6-521-V-0012\n5/6-521-V-0013\n5/6-521-V-0014","Main Steam Isolation Valves and Accessories"]
["M243-ER-A02-01\nM243-ER-A05-01\nM243-ER-A06-01","FLOWSERVE US, INC.","5/6-521-V-0015\n5/6-521-V-0016\n5/6-521-V-0017\n5/6-521-V-0018","Main Steam Isolation Bypass Valves and Accessories"]
["M243-ER-A03-01\nM243-ER-A05-01\nM243-ER-A06-01","FLOWSERVE US, INC.","5/6-541-V-0121\n5/6-541-V-0122\n5/6-541-V-0123\n5/6-541-V-0124","Economizer Main Feedwater Isolation Valves and Accessories"]
["M243-ER-A04-01\nM243-ER-A05-01\nM243-ER-A06-01","FLOWSERVE US, INC.","5/6-541-V-0131\n5/6-541-V-0132\n5/6-541-V-0133\n5/6-541-V-0134","Downcomer Main Feedwater Isolation Valves and Accessories"]
["M244-ER-A01-01\nM244-ER-A02-01\nM244-ER-A03-01","EMERSON","5/6-521-V-1301~1310\n5/6-521-V-1311~1320","Main Steam Safety Valves"]
["M245-ER-A01-01","Trillium Flow Technologies FRANCE","Various","Safety Relief Valves"]
["M251-ER-A02-01~05","LG전자(주)","5/6-601-M-HV01A/B","Air Handling Units"]
["M251-ER-A03-01","LG전자(주)","Various","Cubicle coolers"]
["M252-ER-A01-02\nM252-ER-A01-03\nM252-ER-A01-04","(주)센추리","5/6-601-M-AU01A/B\n5/6-604-M-AU02A/B\n5/6-606-M-AU01A/B\n5/6-606-M-AU02A/B","Air Cleaning Units"]
["M252-ER-B01-01\nM252-ER-B01-02\nM252-ER-B01-03","(주)센추리","5/6-601-M-AU01A/B\n5/6-604-M-AU02A/B\n5/6-606-M-AU01A/B\n5/6-606-M-AU02A/B","Air Cleaning Units"]
["M252-ER-A01-01","(주)센추리","Various","Electric Duct Heaters"]
["M253-ER-A01-01","Hi-Air Korea Co. LTD","5/6-623-M-HC01 ~ HC05\n5/6-623-E-BS01 ~ BS05","Electric Duct Heaters"]
["M254-ER-A01-01~05","Hi-Air Korea Co. LTD","Various","Fire Damper"]
["M254-ER-A02-01~04","Hi-Air Korea Co. LTD","Various","Control Damper and Accessories"]
["M254-ER-A03-01~08","Hi-Air Korea Co. LTD","Various","Manual Damper"]
["M254-ER-A05-01~03","Hi-Air Korea Co. LTD","Various","Duct Accessories \n(Grills, Register & Diffusers)"]
["M254-ER-A04-01","Hi-Air Korea Co. LTD","Various","Smoke Damper"]
["M254-ER-A08-01~02","Hi-Air Korea Co. LTD","5/6-601-Y-VC-1401\n5/6-601-Y-VC-1402\n5/6-601-Y-VC-1403","Blast Valve"]
["M254-ER-A06-01\nM254-ER-A06-02","Hi-Air Korea Co. LTD","Various","Silencer"]
["M254-ER-A07-01","Hi-Air Korea Co. LTD","Various","Swing Panel"]
["M255B-ER-A01-01~06","(주)태일송풍기","Various","Fan"]
["M258-ER-A01-01\nM258-ER-A01-03\nM258-ER-A01-04","효성굿스프링스(주)","5/6-691-M-PP05\n5/6-691-M-PP06","Fire Pumps and drivers"]
["M258-ER-A01-05","효성굿스프링스(주)","5/6-691-J-FE-3065\n5/6-691-J-FI-3065","Flow Indicator and Element "]
["M258-ER-A01-02","효성굿스프링스(주)","5/6-691-J-LP05\n5/6-691-J-LP06","Fire Pumps and drivers Controller Panel"]
["M259-ER-A01-01","(주)지에프에스","5/6-691-M-FS21∼FS24\n(5/6-691-V-3521∼3524)","Deluge Valve"]
["M259-ER-A01-02","(주)지에프에스","N/A","Fire Department Connection"]
["M259-ER-A02-01","(주)지에프에스","N/A","Monitor Nozzle"]
["M259-ER-A02-02","(주)지에프에스","N/A","Make up Nozzle"]
["M262-ER-A01-01,04\nM262-ER-A02-01,03~07","한화엔진㈜","5/6-593-M-DG01","AAC DG Generator Including Engine"]
["M262-ER-A01-02","한화엔진㈜","5/6-593-E-DP01","Excitation Cubicle"]
["M262-ER-A01-03","한화엔진㈜","5/6-593-E-DP02/DP03/DP04/DP05/DP07/DP08/DP09\n5/6-593-J-LP01/LP02/LP05","Cubicles & Control Panels"]
["M262-ER-A01-81","한화엔진㈜","5/6-593-J-PT-3003\n5/6-593-J-PT-3035\n5/6-593-J-PT-3047","Pressure Transmitters"]
["M262-ER-A01-82","한화엔진㈜","5/6-593-J-LI-3011, 3010, 3001, 3033, 3034","Level indicator"]
["M262-ER-A01-41","한화엔진㈜","5/6-593-J-IR01~IR05","Instrument Board"]
["M262-ER-A01-84\nM262-ER-A01-86","한화엔진㈜","Various","Instrument valves & Thermowells"]
["M262-ER-A03-01~04\nM262-ER-A03-11~12","한화엔진㈜","5/6-593-M-PP01/PP22/\nPP33/PP08/PP09","Pumps & Motors"]
["M262-ER-A04-01","한화엔진㈜","5/6-593-M-HE01\n5/6-593-M-HE30","Heat Exchangers"]
["M262-ER-A08-01","한화엔진㈜","5/6-593-M-SL01\n5/6-593-M-SL03","Silencers"]
["M262-ER-A09-01~02","한화엔진㈜","5/6-593-M-TK14\n5/6-593-M-TK01\n5/6-593-M-TK10\n5/6-593-M-TK40\n5/6-593-M-TK41\n5/6-593-M-TK42","Tanks & Receivers"]
["M262-ER-A15-01","한화엔진㈜","5/6-593-M-FT50","Air Intake Filter"]
["M262-ER-A05-01","한화엔진㈜","5/6-593-V3344∼3348","Solenoid Valves"]
["M262-ER-A25-01","한화엔진㈜","5/6-593-V-4035\n5/6-593-V-4037\n5/6-593-V-4039\n5/6-593-V-4040\n5/6-593-V-4059","Pressure Control Valves"]
["M262-ER-A26-01","한화엔진㈜","5/6-593-M-RA01\n5/6-593-M-RA02","Radiators"]
["M262-ER-A27-01","한화엔진㈜","5/6-593-V-4041\n5/6-593-V-5023\n5/6-593-V-5031","Safety Relief Valves"]
["M262-ER-A12-01~26\nM262-ER-A11-01","한화엔진㈜","Various","Manual valves, 3-Way Valves, Check Valves, Orifices & Strainers"]
["M263-ER-A02-01\nM263-ER-A04-01\nM263-ER-A04-02","현대중공업","5/6-591-M-DG01A/B","Class 1E Diesel Generator including Engine"]
["M263-ER-B02-01\nM263-ER-B04-01","현대중공업","5/6-591-M-DG01A/B","Class 1E Diesel Generator including Engine"]
["M263-ER-A02-14\nM263-ER-A03-72","현대중공업","Various","Manual, Check & 3-Way Valves"]
["M263-ER-A03-01\nM263-ER-A03-03\nM263-ER-A03-04\nM263-ER-A03-06\nM263-ER-A03-07","현대중공업","5/6-591-M-TK01A/B\n5/6-591-M-TK10A/B\n5/6-591-M-TK40,41,42A/B\n5/6-595-M-TK02A/B","Tanks & Receivers"]
["M263-ER-A07-03\nM263-ER-A07-04","현대중공업","Various","Miscellaneous Valves and Instruments"]
["M263-ER-A02-16","현대중공업","5/6-591-M-ZM03A/B","Overspeed Air Rack"]
["M263-ER-A02-21","현대중공업","5/6-591-J-IR01A/B\n5/6-591-J-IR02A/B\n5/6-591-J-IR03A/B","Instrument Board"]
["M263-ER-A03-41\nM263-ER-A03-43","현대중공업","5/6-591-M-SL01A/B\n5/6-591-M-SL03A/B","Air Intake & Exhaust Gas Silencer"]
["M263-ER-A03-41","현대중공업","5/6-591-M-FT50A/B","Air Intake Filter"]
["M263-ER-A03-31","현대중공업","5/6-591-M-HE01A/B\n5/6-591-M-HE02A/B\n5/6-591-M-HE03A/B\n5/6-591-M-HE30A/B\n5/6-591-M-HE44A/B","Heat Exchangers"]
["M263-ER-A03-11\nM263-ER-A03-12\nM263-ER-A03-14\nM263-ER-A03-17","현대중공업","5/6-591-M-PP01A/B\n5/6-591-M-PP22A/B\n5/6-591-M-PP33A/B","Pumps & Motors"]
["M263-ER-B03-11\nM263-ER-B03-12","현대중공업","5/6-591-M-PP01A/B\n5/6-591-M-PP22A/B\n5/6-591-M-PP33A/B","Pumps & Motors"]
["M263-ER-A05-01\nM263-ER-A06-01\nM263-ER-A02-22","현대중공업","5/6-591-E-DP02∼04A/B\n5/6-591-J-LP01,02A/B","Cubicles & Control Panels"]
["M263-ER-B05-01\nM263-ER-B06-01\nM263-ER-B02-22","현대중공업","5/6-591-E-DP02∼04A/B\n5/6-591-J-LP01,02A/B","Cubicles & Control Panels"]
["M263-ER-A03-62","현대중공업","5/6-591-V-5023A/B\n5/6-591-V-5031A/B\n5/6-591-V-5322A/B","Safety Relief Valve"]
["M263-ER-A03-61","현대중공업","5/6-591-V-4035A/B","PRV"]
["M263-ER-A03-74","현대중공업","5/6-591-V3098,3099A/B","Solenoid Valve"]
["M263-ER-A07-01","현대중공업","5/6-591-J-LI-3001A\n5/6-591-J-LI-3001B\n5/6-591-J-LI-3010A\n5/6-591-J-LI-3010B\n5/6-595-J-LI-3025A\n5/6-595-J-LI-3026B\n5/6-591-J-LS-3001A01\n5/6-591-J-LS-3001A02\n5/6-591-J-LS-3001B01\n5/6-591-J-LS-3001B02\n5/6-591-J-LS-3010A01\n5/6-591-J-LS-3010A02\n5/6-591-J-LS-3010B01\n5/6-591-J-LS-3010B02\n5/6-595-J-LS-3025A01\n5/6-595-J-LS-3025A02\n5/6-595-J-LS-3025A03\n5/6-595-J-LS-3025B04\n5/6-595-J-LS-3026B01\n5/6-595-J-LS-3026B02\n5/6-595-J-LS-3026B03\n5/6-595-J-LS-3026B04","Level Indicator & Switches"]
["M263-ER-A02-17\nM263-ER-A02-18","현대중공업","5/6-591-M-FT22A/B,\n5/6-591-M-FT32A/B","Fuel Oil Filter & Lube Oil Filter"]
["M263-ER-A03-81","현대중공업","5/6-591-V-5401A/B\n5/6-591-V-5410A/B\n5/6-591-V-5418A/B\n5/6-591-V-5423A/B\n5/6-591-V-5429A/B\n5/6-591-V-5434A/B\n5/6-591-V-5451A/B\n5/6-591-V-5453A/B\n5/6-591-V-5455A/B","Instrument Valves"]
["M263-ER-A02-23","현대중공업","5/6-591-J-SE3001A/B\n5/6-591-J-SE3002A/B\n5/6-591-J-SE3003A/B\n5/6-591-J-SE-3004A/B\n5/6-591-J-TE-3044A/B\n5/9-591-J-TE-3005A/B\n5/6-591-J-TEW-3044A/B\n5/6-591-J-TEW-3033A/B\n5/6-591-J-TEW-3010A/B\n5/6-591-J-TEW-3004A/B\n5/6-591-J-TEW-3005A/B\n5/6-591-J-TEW-3253A/B\n5/6-591-J-TEW-3006A/B\n5/6-591-J-TEW-3212A/B\n5/6-591-J-TEW-3232A/B\n5/6-591-J-TEW-3211A/B\n5/6-591-J-TEW-3231A/B\n5/6-591-J-TEW-\n3201A/B~3209A/B\n5/6-591-J-TEW-\n3221A/B~3229A/B\n5/6-591-J-ZS-3512A/B\n5/6-591-J-SS-3512A/B","Engine Instruments"]
["M263-ER-A03-63","현대중공업","5/6-591-M-ST01A/B\n5/6-591-M-ST02A/B","Strainer"]
["M263-ER-A03-75","현대중공업","5/6-591-M-OR01A/B\n5/6-591-M-OR08A/B\n5/6-591-M-OR20A/B","Orifices"]
["M263-ER-A07-02","현대중공업","5/6-591-J-ZM01A\n5/6-591-J-ZM02A\n5/6-591-J-ZM06A","Starting Air Frame"]
["M273-ER-A01-01∼07","서진 인스텍(주)","Various","Flow Restriction Elements"]
["M290-ER-A01-01","시공업체(삼성물산,두산에너빌리티,한화건설)","5/6-691-M-TK03\n5/6-691-M-TK04","Seismic Cat. I Fire Water Tank"]
["M290-ER-A10-01","시공업체(삼성물산,두산에너빌리티,한화건설)","5/6-451-M-TK02","Boric Acid Storage Tank"]
["N201-ER-A01-01","신신기계(주)","5/6-462-M-PP01A/B\n5/6-462-M-PP02A/B","Essential Service Water Pumps"]
["N201-ER-A01-03","신신기계(주)","5/6-462-M-PP01A/B\n5/6-462-M-PP02A/B","Essential Service Water Pump Motors"]
["N201-ER-A01-02","신신기계(주)","5/6-553-M-PP03A/B\n5/6-553-M-PP04A/B","Essential Service Water Screen Wash Pumps"]
["N201-ER-A01-04","신신기계(주)","5/6-553-M-PP03A/B\n5/6-553-M-PP04A/B","Essential Service Water Screen Wash Pump Motors"]
["N202-ER-A01-02","신신기계(주)","5/6-463-M-PP01A/B","Spent Fuel Pool A Cooling Pumps"]
["N202-ER-A01-03","신신기계(주)","5/6-463-M-PP02A/B","Spent Fuel Pool B Cooling Pumps"]
["N202-ER-A01-04","신신기계(주)","5/6-633-M-PP01A/B\n5/6-633-M-PP02A/B","Essential Chilled Water Pumps"]
["N202-ER-A01-05","신신기계(주)","5/6-461-M-PP03A/B","Component Cooling Water Make-up Pumps"]
["N202-ER-A01-01","신신기계(주)","5/6-461-M-PP01A/B\n5/6-461-M-PP02A/B","Component Cooling Water Pumps"]
["N202-ER-A01-06","신신기계(주)","5/6-633-M-PP03A/B","Essential Chilled Water Make-up Pumps"]
["N202-ER-A02-01","신신기계(주)","5/6-461-M-PP01A/B\n5/6-461-M-PP02A/B","CCWP Motor"]
["N202-ER-A02-02","신신기계(주)","5/6-463-M-PP01A/B\n5/6-463-M-PP02A/B\n5/6-633-M-PP01A/B\n5/6-633-M-PP02A/B\n5/6-461-M-PP03A/B\n5/6-633-M-PP03A/B","All of Pump Motors except for CCWP Motor"]
["N203-ER-A01-01","효성굿스프링스(주)","5/6-442-M-PP01A/B","Containment Spray Pump"]
["N203-ER-A01-02","효성굿스프링스(주)","5/6-442-M-PP01A/B","Containment Spray Pump Motors"]
["N204-ER-A01-01","(주)엘에치이","5/6-442-M-HE01A/B","Containment Spray Heat Exchanger"]
["N204-ER-A02-01","(주)엘에치이","5/6-442-M-HE02A/B","Containment Spray Miniflow Heat Exchanger"]
["N204-ER-A03-01","(주)엘에치이","5/6-461-M-HE01A/B\n5/6-461-M-HE02A/B\n5/6-461-M-HE03A/B","Component Cooling Water Heat Exchanger"]
["N204-ER-A04-01","(주)엘에치이","5/6-463-M-HE01A/B","Spent Fuel Pool A Cooling Heat Exchanger"]
["N204-ER-A05-01","(주)엘에치이","5/6-463-M-HE02A/B","Spent Fuel Pool B Cooling Heat Exchanger"]
["N205-ER-A01-01","(주)무진기연","5/6-461-M-TK01A/B","Component Cooling Water Surge Tank"]
["N205-ER-A01-03","(주)무진기연","5/6-633-M-TK01A/B","Essential Chilled Water Compression Tank"]
["N205-ER-A01-04","(주)무진기연","5/6-633-M-TK02A/B","Essential Chilled Water Air Separator"]
["N205-ER-A01-02","(주)무진기연","5/6-595-M-TK01A/B","Diesel Fuel Oil Storage Tank"]
["N206-ER-A01-01","㈜티엔아이","5/6-447-M-ST01A/B/C/D","IRWST Sump Strainer"]
["N210-ER-A01-01","(주)무진기연","5/6-593-M-TK13","AAC Diesel Fuel Oil Storage Tank"]
["N222-ER-A01-01","청우 하이드로(주)","5/6-451-M-SD01","Suction Stabilizers"]
["N222-ER-A01-02","청우 하이드로(주)","5/6-451-M-PD01","Pulsation Dampeners"]
["N223-ER-A01-01\nN223-ER-A01-05\nN223-ER-A01-06\nN223-ER-A01-07\nN223-ER-A01-08","정우산기(주)","5/6-462-M-FT01A/B\n5/6-462-M-FT02A/B\n5/6-462-M-FT03A/B","Essential Service Water Debris Filters"]
["N228-ER-A01-41","한국원자력기술주식회사","5/6-443-M-HI01∼10","Hydrogen Ignitor"]
["N229-ER-A01-41\nN229-ER-B01-41","한국원자력기술주식회사","5/6-443-M-HR01A/B\n~ 5/6-443-M-HR15A/B","Passive Autocatalytic Recombiners"]
["N229-ER-B01-41","한국원자력기술주식회사","5/6-443-M-HR01A/B\n~ 5/6-443-M-HR15A/B","Passive Autocatalytic Recombiners"]
["N231-ER-A01-01","㈜티엔아이","5/6-431-M-SZ01∼12\n5/6-433-M-SZ01","SDVS Spargers"]
["P204-ER-A01-01~38, 40\nP204-ER-A02-01~11\nP204-ER-A03-01~27","PK밸브","Various","Safety-Related Steel Gate, Globe & Check Valves (2½˝ & Larger)"]
["P204-ER-B01-01","PK밸브","Various","Safety-Related Steel Gate, Globe & Check Valves (2½˝ & Larger)"]
["P206A-ER-A01-03~06\nP206A-ER-A01-08\nP206A-ER-A01-09\nP206A-ER-A01-10\nP206A-ER-A02-01~04","SAMSHIN LIMITED","Various","Safety-Related Steel Gate & Globe Valves with Air Actuator"]
["P206A-ER-B01-01\nP206A-ER-B02-01\nP206A-ER-B02-02\nP206A-ER-B02-03\nP206A-ER-B01-05\nP206A-ER-B01-06\nP206A-ER-B01-07\nP206A-ER-B01-08","SAMSHIN LIMITED","Various","Safety-Related Steel Gate & Globe Valves with Air Actuator"]
["P206A-ER-A01-01~02\nP206A-ER-A01-07\nP206A-ER-A01-11\nP206A-ER-A02-05~26","SAMSHIN LIMITED","Various","Safety-Related Steel Gate & Globe Valves with Motor Actuator"]
["P206A-ER-B01-01\nP206A-ER-B01-02\nP206A-ER-B01-09\nP206A-ER-B01-10","SAMSHIN LIMITED","Various","Safety-Related Steel Gate & Globe Valves with Motor Actuator"]
["P206C-ER-A01-01\nP206C-ER-A01-02\nP206C-ER-A01-03\nP206C-ER-A01-04","SAMSHIN LIMITED","Various","Safety-Related Controlled Closure Check Valves"]
["P206C-ER-B01-01","SAMSHIN LIMITED","Various","Safety-Related Controlled Closure Check Valves"]
["P206D-ER-A01-01\nP206D-ER-A01-02","SAMSHIN LIMITED","Various","Safety-Related Tilting Disc Check Valves"]
["P207-ER-B01~55","(주)일신밸브","Various","Safety-Related Manual Steel Gate, Globe & Check Valves(2˝and Smaller)"]
["P208-ER-A01-01\nP208-ER-A01-02\nP208-ER-A01-03\nP208-ER-A01-04\nP208-ER-A01-05\nP208-ER-A01-06\nP208-ER-A01-07\nP208-ER-A01-08\nP208-ER-A01-11\nP208-ER-A01-14\nP208-ER-A01-15\nP208-ER-A01-16","SAMSHIN LIMITED","Various","Diaphragm Valves"]
["P209-ER-A01-01~16\nP209-ER-A01-18~34","PK밸브","Various","Seismic Cat. I Manual Valves"]
["P216-ER-A01-01\nP216-ER-A01-02\nP216-ER-A01-03","정우산기(주)","5/6-553-M-ST10A/B\n5/6-595-M-ST02A/B\n5/6-593-M-ST02","Strainers"]
["P217-ER-A02-01","SVC","5/6-442-V-1036","Thermal Relief Valves"]